Technical Reference

Unbundled Digital Loop

Technical Specifications

DRAFT 10

Document History

| Issue No. | Date | Description |
| --- | --- | --- |
| 1 | Dec 1996 | First version of document released to the public. |
| 2 | August 1998 | Changed terminology, added an ISDN PSD mask, changed the DS1 pattern sensitivity test criteria, and added the HDSL, ADSL, and DS3 loops. |
|  | August 2009 | Changed out Bell Atlantic logos and references to Verizon |

© 1998 Verizon

All Rights Reserved

Printed in U.S.A.

Verizon Technical Reference

Unbundled Digital Loop

Technical Specifications

Notice

This Technical Reference is published by Verizon to provide a technical description of unbundled digital loops. To the extent feasible, the description references or duplicates existing published technical references utilized by the industry.

Verizon reserves the right to revise this technical reference for any reason including, but not limited to, changes in tariffs, laws, or regulations, conformity with updates and changes in standards promulgated by various agencies, utilization of advances in the state of technical arts, or the reflection of changes in the design of any facilities, equipment, techniques, or procedures described or referred to herein. Liability for difficulties arising from technical limitations or changes herein is disclaimed.

Verizon reserves the right not to offer any or all of these services and to withdraw any or all of them at any future time. In addition, the services described herein are based on available facilities and equipment and may not be universally available.

With respect to services offered pursuant to tariff, however, the terms and conditions of the service offering are determined by the tariff itself and applicable laws and regulations. This reference is intended to be supplemental to the tariffs. In the event of a conflict between the tariffs, laws or regulations and this reference, the tariffs, laws, and regulations shall govern.

For additional copies, please contact:

Verizon Document and Information Delivery Services

1310 N. Court House Road

Arlington, VA 22201

703-974- 5887

For information about the technical specifications in this TR, contact:

Trone Bishop

6E

13100 Columbia Pike

Silver Spring, MD 20904

301-236-3754

Verizon Technical Reference

Unbundled Digital Loop

Technical Specifications

Contents				Page

1.	Introduction								3

2.	Service Description							4

- General								4

- Unbundled 2-Wire Digital ISDN-Qualified (2WDI) Loop			4

- Unbundled 4-Wire Digital DS1 (4WD1.5) Loop			5

- Unbundled 2-Wire and 4-Wire Digital HDSL-Qualified Loops		7

- Unbundled 2WDH Loop					7

- Unbundled 4WDH Loop					7

- Unbundled 2WDH and 4WDH Loop Limitations 		8

- Unbundled 2-Wire Digital ADSL-Qualified (2WDA) Loops 		9

- Unbundled 2WDA-R Loop					9

- Unbundled 2WDA-C Loop					10

- Unbundled 2WDA-R and 2WDA-C Loop Limitations 		11

- Unbundled 4-Wire Digital DS3 (4WDS3) Loop				13

3.	Element Specifications							14

- General								14

- CODF Wiring and Tie Cable(s)					16

- DSX-1 Wiring and Repeatered Tie Cable(s)				16

- DSX-3 Wiring and Repeatered Tie Cable(s)				16

- Subscriber Loop Facilities						16

- Unbundled 2WDI Loop					17

- Unbundled 4WD1.5 Loop 					18

- Unbundled 2WDH and 4WDH Loops				19

- Unbundled 2WDA Loops					20

- Unbundled 4WDS3 Loop					22

- Transmission Enhancement Equipment				22

4.	Service Specifications							23

- General								23

- Unbundled 2WDI Loop						24

- Unbundled 4WD1.5 Loop 						25

- Unbundled 2WDH and 4WDH Loops					28

- Unbundled 2WDA-R Loop						29

- Unbundled 2WDA-C Loop						30

- Unbundled 4WDS3 Loop						31

5.	CLEC Equipment and CO Cabling Requirements				33

- CLEC Equipment Requirements					33

- CLEC Equipment CO Cabling Requirements				34

- CLEC DSX-1 Cabling Requirements					34

- CLEC DSX-3 Cabling Requirements					34

6.	References								35

- Definitions								36

- Acronyms								39

7.	Bibliography								40

Figures										Page

Figure 2-1: Typical 2WDI Loop Configuration					4

Figure 2-2: Power Spectral Density Template for Unbundled 2WDI Loop		5

Figure 2-3: Typical Unbundled 4WD1.5 Loop Configuration			6

Figure 2-4: Typical Unbundled 2WDH Loop Configuration				8

Figure 2-5: Typical Unbundled 4WDH Loop Configuration				8

Figure 2-6: Power Spectral Density Template for Unbundled 2WDH or 4WDA	9

Loops

Figure 2-7: Typical Unbundled 2WDA Loop Configuration				10

Figure 2-8: DMT Upstream PSD Template for Unbundled 2WDA Loops		11

Figure 2-9: CAP/QAM Upstream PSD Template for Unbundled 2WDA Loops	12

Figure 2-10: DMT Downstream PSD Template for Unbundled 2WDA Loops		12

Figure 2-11: CAP/QAM Downstream PSD Template for Unbundled 2WDA Loops	12

Figure 2-12: Typical Unbundled 4WDS3 Loop Configuration			13

Figure 3-1: 2WDI, 2WDH, or 2WDA Service Elements				14

Figure 3-2: 4WDH Service Elements						14

Figure 3-3: 4WD1.5 Service Elements						15

Figure 3-4: 4WDS3 Service Elements						15

Figure 4-1: 2WDI NC Codes							24

Figure 4-2: 2WDI NCI Code Combinations					24

Figure 4-3: 2WDI Acceptance Limits (AL) and Immediate Action Limits (IAL)	24

Figure 4-4: 4WD1.5 NC Codes					25

Figure 4-5: 4WD1.5 NCI Code Combinations					25

Figure 4-6: 4WD1.5 Performance Objectives					26

Figure 4-7: 4WD1.5 Test Limits					26

Figure 4-8: Pattern Sensitivity Test Criteria 					27

Figure 4-9: 2WDH and 4WDH NC Codes						28

Figure 4-10: 2WDH and 4WDH NCI Code Combinations				28

Figure 4-11: 2WDH and 4WDH Acceptance Limits (AL) and Immediate		28

Action Limits (IAL)

Figure 4-12: 2WDA-R NC Codes							29

Figure 4-13: 2WDA-R NCI Code Combinations					29

Figure 4-14: 2WDA-R Acceptance Limits (AL) and Immediate Action Limits (IAL)	29

Figure 4-15: 2WDA-C NC Codes							30

Figure 4-16: 2WDA-C NCI Code Combinations					30

Figure 4-17: 2WDA-C Acceptance Limits (AL) and Immediate Action Limits (IAL)	30

Figure 4-18: 4WDS3 NC Codes					32

Figure 4-19: Valid 4WDS3 NC/NCI Code Combinations				32

Figure 4-20: 4WDS3 Performance Objectives					32

Figure 4-21: 4WDS3 Test Limits					32

1.	Introduction

1.01	This technical reference provides the technical specifications associated with the Unbundled Digital Loops offered by Verizon (VZ) in tariffs and contracts. All of the loops described in this document may not be available in every jurisdiction.

1.02	This technical reference has been reissued to update some of the terminology. For example, the ISDN Basic Rate Unbundled Loop Service is now known as an unbundled 2-Wire Digital ISDN-Qualified Loop and the DS1 Unbundled Loop Service is now know as an unbundled 4-Wire Digital DS1 Loop. In addition to terminology changes, this technical reference has been reissued to provide:

- A Power Spectral Density (PSD) mask for the unbundled 2-Wire Digital ISDN-Qualified Loop;

- Specifications for the unbundled 2-Wire Digital HDSL-Qualified, 4-Wire Digital HDSL-Qualified, 2-Wire Digital ADSL-Qualified, and 4-Wire Digital DS3 loops; and,

- DS1 pattern sensitivity test criteria that conforms with American National Standards.

1.03	Unbundled digital loops enable Certified Local Exchange Carriers (CLECs) that are collocated in VZ Central Offices (COs) to connect to VZ subscriber loops that are designed to support various digital technologies.

1.04	The following unbundled digital loops are defined:

- 2-Wire Digital - ISDN-Qualified,

- 4-Wire Digital - DS1,

- 2-Wire Digital - HDSL-Qualified,

- 4-Wire Digital - HDSL-Qualified,

- 2-Wire Digital - ADSL.-Qualified, and

- 4-Wire Digital - DS3.

1.05	The technical specifications in this document assume that the CLEC is collocated in the same CO as the unbundled digital loop. In the future, VZ may offer transport services for unbundled digital loops. In that case, the technical specifications associated with the transport service should be consulted.

2.	Service Description

A.	General

2.01	The description, terms and conditions, rates, regulations, and Universal Service Order Codes (USOCs) for unbundled digital loops are contained in applicable tariffs or contracts.

2.02	Unbundled digital loops are provided subject to availability on a first-come first-served basis. Special construction charges apply when appropriate facilities are not available.

2.03	Unbundled digital loops provide the CLEC with a transmission channel suitable for the transport of certain digital technologies. The channel is between the Central Office Distributing Frame (CODF) or DSX-1 termination of CLEC equipment in a VZ CO and the Network Interface Device (NID) or Rate Demarcation Point (RDP) at an End User (EU) customer location.

B.	Unbundled 2-Wire Digital ISDN-Qualified (2WDI) Loop

2.04	The unbundled 2WDI loop provides the CLEC with an effective 2-wire channel that is suitable for the transport of 160 kbps digital Basic Rate ISDN signals in both directions simultaneously using the 2B1Q line code described in ANSI T1.601-1992 [1].

2.05	The interface at the CLEC CODF termination is 2-wire and the interface at the EU-RDP is 2-wire. At each interface one conductor is called tip and the other conductor is called ring. The RJ11C (6-pin) or RJ49C (8-pin) connectors are the single circuit network interface jacks that are normally used at the EU-POT.

2.06	The transmission channel between the 2WDI interfaces is effective 2-wire. An effective 2-wire channel may be entirely 2-wire or it may contain a 4-wire facility portion (such as a Digital Loop Carrier) with a 2-wire metallic extension to the EU-RDP. A typical 2WDI configuration is shown in Figure 2-1.

2.07	2WDI supports full duplex 160 kbps digital Basic Rate ISDN transmission. The 160 kbps line rate supports a 16 kbps overhead channel for performance monitoring, framing, synchronization, and maintenance. In addition, the line rate supports 144 kbps of payload data which is divided into three channels, two 64 kbps "B" (Bearer) channels and one 16 kbps "D" (Data) channel.

Figure 2-1. Typical 2WDI Loop Configuration

2.08	The unbundled 2WDI loop may be provided using a variety of loop transmission technologies, including but not limited to, metallic cable, metallic cable based digital loop carrier, or fiber optic-based digital loop carrier.

2.09	The unbundled 2WDI loop supports the ISDN Basic Rate Two-Binary One-Quaternary (2B1Q) line code described in ANSI T1.601-1992 [1]. Vendor-specific, non-standard line codes are not supported and the VZ spectrum management guidelines for unbundled 2WDI loops do not apply to such applications.

2.10	CLEC or CPE equipment connected to a 2WDI loop shall meet the Power Spectral Density template in Figure 2-2 below. To verify compliance with this requirement, measurements shall use a noise power bandwidth of 1 kHz.

2.11	CPE that is connected to a 2WDI loop shall also meet the applicable signal power limits in Part 68 of the FCC Rules [2].

Figure 2-2. Power Spectral Density Template for Unbundled 2WDI Loop

2.12	An unbundled 2WDI loop may not be spectrally compatible in the same cable or binder group with 15 kHz Program Audio services, Type I or Type II Public Switched Digital Service (PSDS), Data-Voice Multiplexers (DVM) associated with CO-LAN services, or Analog Carrier. Additional information about spectrum compatibility may be found in Section 3E(i).

2.13	The unbundled 2WDI loop utilizes subscriber loop facilities that were originally designed for Plain Ordinary (analog) Telephone Service (POTS). For this reason, some loops, such as loaded metallic facilities or analog carrier systems, may not qualify as an unbundled 2WDI loop.

2.14	If the loop length exceeds the ISDN range, range extension may be available.

C.	Unbundled 4-Wire Digital DS1 (4WD1.5) Loop

2.15	The unbundled 4WD1.5 loop provides the CLEC with a 4-wire transmission channel that is suitable for the transport of 1.544 Mbps (DS1) digital signals in both directions simultaneously.

2.16	The interface at the CLEC DSX-1 termination in the VZ CO is 4-wire and the interface at the EU-NID is 4-wire. The conductors of the CLEC or EU transmit pair are called tip and ring and the conductors of the CLEC or EU receive pair are called tip 1 and ring 1. The RJ48C (8-pin) or RJ48X (8-pin with shorting bar) connectors are the single circuit network interface jacks that are normally used at the EU-POT.

2.17	The transmission channel between the 4WD1.5 interfaces consists of 4-wire facilities. An unbundled 4WD1.5 loop may be provided using a variety of loop transmission technologies, including but not limited to, metallic cable, metallic cable with a mid-span repeater, metallic cable with High-Bit-Rate Digital Subscriber Line (HDSL) technology, or fiber optic transport systems. A typical 4WD1.5 loop configuration is shown in Figure 2-3.

Figure 2-3. Typical Unbundled 4WD1.5 Loop Configuration

2.18	The unbundled 4WD1.5 loop enables full duplex 1.544 Mbps digital transmission. The 1.544 Mbps line rate supports an 8 kbps framing format and 1.536 Mbps of payload data. The unbundled 4WD1.5 loop will support either the Superframe (SF) or Extended Superframe (ESF) framing formats as specified in ANSI T1.403-1995 [3].

2.19	The unbundled 4WD1.5 loop is available with either the AMI or B8ZS line codes as specified in ANSI T1.403-1995 [3].

2.20	The DS1 interface provided by VZ does not ordinarily deliver direct-current power to the EU-NID via the simplex leads of the transmit and receive pairs, however when VZ employs metallic facilities and no loopback device is deployed, direct-current power will appear at the EU-NID on the simplex leads. In such cases, the EU equipment shall provide a direct-current connection between the simplexes of the transmit and receive pairs.

2.21	Direct-current power shall not be delivered to the EU-POT by EU customer equipment. In addition, EU customer equipment shall not apply voltages to the EU-POT other than those described in ANSI T1.403-1995 [3].

2.22	The CLEC will be responsible for providing synchronization timing for the unbundled 4WD1.5 loop.

2.23	CLEC equipment that is connected to the 4WD1.5 loop shall meet the DSX-1 signal power limits in ANSI T1.102 [4].

2.24	CPE that is connected to the 4WD1.5 loop shall meet the DS1 signal power limits in ANSI T1.403 [3] and Part 68 of the FCC Rules [2].

2.25	An unbundled 4WD1.5 loop may not be spectrally compatible in the same binder group with ADSL technologies or in the same cable with Analog Carrier. Additional information about spectrum compatibility may be found in Section 3E(ii).

2.26	Subscriber loop facilities were originally designed for POTS. For this reason, some loops may not qualify as an unbundled 4WD1.5 loop.

D.	Unbundled 2-Wire and 4-Wire Digital HDSL-Qualified Loops

2.27	Two types of unbundled High-Bit-Rate Digital Subscriber Line (HDSL) loops are offered: the 2-Wire Digital HDSL-Qualified (2WDH) loop and the 4-wire Digital HDSL-Qualified (4WDH) loop. The unbundled 2WDH loop provides the CLEC with an effective 2-wire channel that may be suitable for the transport of 784 kbps digital signals simultaneously in both directions. The unbundled 4WDH loop provides the CLEC with an effective 4-wire channel that may be suitable for the transport of 1.568 Mbps digital signals simultaneously in both directions. The unbundled 2WDH and 4WDH loops are intended for the transport of 2B1Q signals as described in Committee T1 Technical Report No. 28 [5].

2.28	Unbundled 2WDH loops are currently provided by using available non-loaded metallic cable facilities. In the future unbundled 2WDH loops may be provided by using other loop transmission technologies, including but not limited to, metallic cable, metallic cable based digital loop carrier, and fiber optic-based digital loop carrier systems.

i.	Unbundled 2WDH Loop

2.29	The unbundled 2WDH loop is an effective 2-wire channel that is intended to transport bi-directional full duplex 784 kbps digital signals that support up to a 768 kbps payload plus framing (8 kbps) and overhead (8 kbps). This is sometimes called single-loop operation. The actual data rate achieved on a particular 2WDH loop depends upon the performance of the CLEC-provided modems with the electrical characteristics (length, bridged tap, noise, etc.) associated with the loop. The characteristics of a metallic loop may change over time.  The length, gauge, and bridged tap attributes may change due to cable rearrangements.  The primary electrical constants (i.e., resistance, conductance, capacitance, inductance) will vary as the internal temperature of the cable varies.  The noise characteristics of a metallic loop may change due to changes in exposure to external electromagnetic sources (e.g., power lines, radio frequency signals, etc.) as well as changes in the mixture of transmission systems that use other pairs in the same cable.

2.30	The CLEC interface at the CODF termination for the 2WDH loop is 2-wire and the interface at the EU-POT is also 2-wire. The effective 2-wire 2WDH loop ordinarily consists entirely of 2-wire metallic facilities however in the future if Digital Loop Carrier can be used for unbundled 2WHD loops then the loop may contain a 4-wire facility portion. The RJ11C connector is the single circuit network interface jack that is used at the EU-POT. A typical unbundled 2WDH loop configuration is shown in Figure 2-5.

2.31	When metallic facilities are used to provide the unbundled 2WDH loop, the cable pair shall be non-loaded and shall meet the selected Carrier Serving Area design criteria (i.e., non-loaded, length ( 12 kft, etc.) in Section 3E(iii).

ii.	Unbundled 4WDH Loop

2.32	The unbundled 4WDH loop is intended to transport two bi-directional full duplex 784 kbps digital signals each of which supports up to a 768 kbps payload plus framing (8 kbps) and overhead (8 kbps). This is sometimes called dual duplex or two full pair full duplex operation. The actual data rate achieved on a particular 4WDH loop depends upon the performance of the CLEC-provided modems with the electrical characteristics (length, bridged tap, noise, etc.) associated with the loop. The characteristics of a metallic loop may change over time.  The length, gauge, and bridged tap attributes may change due to cable rearrangements.  The primary electrical constants (i.e., resistance, conductance, capacitance, inductance) will vary as the internal temperature of the cable varies.  The noise characteristics of a metallic loop may change due to changes in exposure to external electromagnetic sources (e.g., power lines, radio frequency signals, etc.) as well as changes in the mixture of transmission systems that use other pairs in the same cable.

2.33	The CLEC CODF and EU-POT interfaces for the 4WDH loop are 4-wire. The conductors of the CLEC or EU transmit pair are called tip and ring and the conductors of the CLEC or EU receive pair are called tip 1 and ring 1. The RJ48C (8-pin) or RJ48X (8-pin with shorting bar) connectors are the single circuit network interface jacks that are normally used at the EU-POT. A typical unbundled 4WDH loop configuration is shown in Figure 2-6.

2.34	If and when digital loop carrier (DLC) is used to provide unbundled 4WDH loops, the DLC will provide two 2-wire interfaces at the CLEC-POT and EU-NID each of which meets the specifications in T1 Technical Report No.  28 [5].

2.35	When metallic facilities are used to provide the unbundled 4WDH loops, both cable pairs shall be non-loaded and shall meet the selected Carrier Serving Area design criteria (i.e., non-loaded, length ( 12 kft, etc.) in Section 3E(iii). In addition, each 2-wire loop may have different characteristics. The pairs may differ in wire gauge, bridged tap, and exposure to crosstalk. The difference in the transmission characteristics of each pair may change slowly due to temperature differences between each loop.

Figure 2-4. Typical Unbundled 2WDH Loop Configuration

Figure 2-5: Typical Unbundled 4WDH Loop Configuration

iii.	Unbundled 2WDH and 4WDH Loop Limitations

2.36	Unbundled 2WDH loops are not intended to support single-pair 1.544 Mbps full duplex HDSL systems that use a single pair and an echo canceled hybrid method to carry a 1.544 Mbps payload plus overhead in both directions simultaneously. Standards bodies refer to this as HDSL2. Verizon spectrum management guidelines for unbundled 2WDH loops do not apply to such applications.

2.37	Unbundled 4WDH loops are not intended to support Dual-Simplex (2-pair simplex) HDSL systems that use two pairs each carrying a unidirectional signal at a nominal 1.544 Mbps rate plus overhead and Verizon spectrum management guidelines for unbundled 4WDH loops do not apply to such applications.

2.38	Unbundled 2WDH and 4WDH loops may not be spectrally compatible in the same cable or binder group with 15 kHz Program Audio services, Type I or Type II Public Switched Digital Service (PSDS), Data-Voice Multiplexers (DVM) associated with CO-LAN services, or Analog Carrier. Additional information about HDSL spectral compatibility may be found in Section 3E(iii).

2.39	CLEC or CPE equipment connected to unbundled 2WDH or 4WDH loops shall meet the applicable signal power limits in T1 Technical Report No. 28 [5], Part 68 of the FCC Rules [2], and the Power Spectral Density template in Figure 2-7. The average signal power shall not exceed +15.0 dBm across 100 ohms.

Figure 2-6. Power Spectral Density Template for Unbundled 2WDH or 4WDH Loops

2.40	Loop power or sealing current applied to an unbundled 2WDH or 4WDH loop shall not exceed the class A3 voltage limits in Bellcore GR-1089-CORE [6]. Only dc voltages that are negative with respect to ground may be used for sealing current.

2.41	Unbundled 2WDH and 4WDH loops utilize subscriber loop facilities that were originally designed for POTS. For this reason, some loops, such as loaded metallic facilities, may not qualify as unbundled 2WDH or 4WDH loops.

2.42	If the cable pair length exceeds 12 kilofeet, range extension may be available for an additional charge.

E.	Unbundled 2-Wire Digital ADSL-Qualified (2WDA) Loops

2.43	Unbundled 2WDA loops provide the CLEC with an effective 2-wire channel that is intended for the transport of POTS as well as Asymmetrical Digital Subscriber Line (ADSL) signals. Two types of unbundled 2WDA loops are available: the 2WDA-R loop which is based on selected Revised Resistance Design criteria (i.e., non-loaded, length ( 18 kft, etc.) and the 2WDA-C loop which is based on shorter (i.e., non-loaded, length ( 12 kft, etc.) Revised Resistance Design criteria.

2.44	The 2WDA interface at the CODF termination is 2-wire and the interface at the EU-POT is 2-wire. One conductor of the pair is called tip and the other conductor is called ring. The RJ11C connector is the single circuit network interface jack that will be provided at the EU-POT.

2.45	Unbundled 2WDA loops are intended for the transport of ADSL DMT signals that meet the specifications of ANSI T1.413 [7] or RADSL CAP signals that meet the specifications of T1E1/97-104R2 [8].

2.46	Unbundled 2WDA loops are currently provided over 2-wire non-loaded metallic cable facilities that meet certain design criteria if such facilities are available. A typical unbundled 2WDA loop configuration is shown in Figure 2-8.

i.	Unbundled 2WDA-R Loop

2.47	In addition to analog POTS signals, an unbundled 2WDA-R is suitable for the transport of Discrete Mulit-Tone (DMT) or Carrierless AM/PM (CAP) ADSL signals at different downstream (toward the EU-POT) and upstream (from the EU-POT) rates. The actual downstream and upstream data rates achieved on a particular 2WDA-R loop depends upon the performance of the CLEC-provided modems with the electrical characteristics (length, bridged tap, noise, etc.) associated with the loop. The characteristics of a metallic loop may change over time.  The length, gauge, and bridged tap attributes may change due to cable rearrangements.  The primary electrical constants (i.e., resistance, conductance, capacitance, inductance) will vary as the internal temperature of the cable varies.  The noise characteristics of a metallic loop may change due to changes in exposure to external electromagnetic sources (e.g., power lines, radio frequency signals, etc.) as well as changes in the mixture of transmission systems that use other pairs in the same cable.

Figure 2-7. Typical Unbundled 2WDA Loop Configuration

2.48	DMT-type CPE used with an unbundled 2WDA-R loop shall meet the signal power limits in Part 68 of the FCC Rules [2], and the Upstream (from the EU-POT) Power Spectral Density (PSD) template in Figure 2-9. CAP/QAM-type CPE used with an unbundled 2WDA-R loop shall meet the signal power limits in Part 68 of the FCC Rules [2], and the Upstream (from the EU-POT) PSD template in Figure 2-10.

2.49	DMT-type CLEC equipment connecting to an unbundled 2WDA-R loop shall meet the Downstream (toward the EU-POT) Power Spectral Density (PSD) template in Figure 2-11. CAP/QAM-type CLEC equipment connecting to an unbundled 2WDA-R loop shall meet the Downstream (toward the EU-POT) PSD template in Figure 2-12.

2.50	2WDA-R loop design is described in more detail in Section 3E(iv).

2.51	The unbundled 2WDA-R loop supports loop-start signaling that meets the specifications of ANSI T1.401-1993 [9].

ii.	Unbundled 2WDA-C Loop

2.52	In addition to analog POTS signals, an unbundled 2WDA-C loop may be suitable for the transport of Discrete Mulit-Tone (DMT) or Carrierless AM/PM (CAP) ADSL signals at different downstream and upstream rates. The actual downstream and upstream data rates achieved on a particular 2WDA-C loop depends upon the performance of the CLEC-provided modems with the electrical characteristics (length, bridged tap, noise, etc.) associated with the loop. The characteristics of a metallic loop may change over time.  The length, gauge, and bridged tap attributes may change due to cable rearrangements.  The primary electrical constants (i.e., resistance, conductance, capacitance, inductance) will vary as the internal temperature of the cable varies.  The noise characteristics of a metallic loop may change due to changes in exposure to external electromagnetic sources (e.g., power lines, radio frequency signals, etc.) as well as changes in the mixture of transmission systems that use other pairs in the same cable.

2.53	DMT-type CPE used with an unbundled 2WDA-C loop shall meet the signal power limits in Part 68 of the FCC Rules [2], and the Upstream (from the EU-POT) Power Spectral Density (PSD) template in Figure 2-9. CAP/QAM-type CPE used with an unbundled 2WDA-C loop shall meet the signal power limits in Part 68 of the FCC Rules [2], and the upstream (from the EU-POT) PSD template in Figure 2-10.

2.54	DMT-type CLEC equipment connecting to an unbundled 2WDA-C loop shall meet the Downstream (toward the EU-POT) Power Spectral Density (PSD) template in Figure 2-11. CAP/QAM-type CLEC equipment connecting to an unbundled 2WDA-C loop shall meet the Downstream (toward the EU-POT) PSD template in Figure 2-12

2.55	2WDA-C loop design is described in more detail in Section 3E(iv).

2.56	The unbundled 2WDA-C loop supports loop-start signaling that meets the specifications of ANSI T1.401-1993 [9].

iii.	Unbundled 2WDA-R and 2WDA-C  Loop Limitations

2.57	Unbundled 2WDA-R and 2WDA-C loops may not be spectrally compatible in the same cable or binder group with the Data-Voice Multiplexer (DVM) technology associated with CO-LAN services, Analog Carrier systems, T1 technology (including 4WD1.5), or some types of ADSL applications. Additional information about ADSL spectral compatibility may be found in Section 3E(iv).

2.58	Unbundled 2WDA-R and 2WDA-C loops utilize subscriber loop facilities that were originally designed for POTS. For this reason, some loops, such as loaded metallic facilities, may not qualify as unbundled 2WDA-R or 2WDA-C loops.

2.59	Unbundled 2WDA-R and 2WDA-C loops are not intended for applications that have spectral energy at power levels or in frequency bands that can interfere with other unbundled 2WDA-R or 2WDA-C loops in the same cable. Such interfering applications include:

- Reverse ADSL applications (i.e., End-user CPE transmits downstream frequencies and CO equipment transmits upstream frequencies);

- End-user to end-user ADSL applications (i.e., The CPE at one end transmits downstream frequencies);

- Echo canceling ADSL technology or applications that permit the upstream frequency band to overlap the downstream frequency band defined in this document; and,

- Applications that use the power boost option described in ANSI T1.413-1995 (i.e., power level exceeds the PSD templates specified in this document).

Figure 2-8.  DMT Upstream PSD Template for Unbundled 2WDA Loops

Figure 2-9.  CAP/QAM Upstream PSD Template for Unbundled 2WDA Loops

Figure 2-10.  DMT Downstream PSD Template for Unbundled 2WDA Loops

Figure 2-11.  CAP/QAM Downstream PSD Template for Unbundled 2WDA Loops

F.	Unbundled 4-Wire Digital DS3 (4WDS3) Loop

2.60	The unbundled 4WDS3 loop provides full duplex digital transmission at 44.736 Mbps between a CLEC that is collocated in an End Users serving CO and an EU-POT at a customer location.

2.61	The 4WDS3 loop may be provided using a variety of transport system technologies, including but not limited to, asynchronous fiber optic transport systems and Synchronous Optical NETwork (SONET) transport systems. A typical 4WDS3 loop configuration is shown in Figure 2-13.

2.62	The 4WDS3 loop interfaces the CLEC at a DSX-3 frame and the EU at a DS3 NID. The CLEC DSX-3 interface will meet the requirements in ANSI T1.102-1993 [4]. The EU-POT DS3 interface will meet the network requirements in ANSI T1.404-1994 [10].

2.63	The 4WDS3 loop uses the B3ZS line code and the M23 framing format described in ANSI T1.404-1994 [10].

2.64	The 4WDS3 loop is not synchronized by VZ.

2.65	Subscriber loop facilities were originally designed for POTS. For this reason, some loops may not qualify as an unbundled 4WDS3 loop.

Figure 2-12. Typical Unbundled 4WDS3 Loop Configuration

3.	Element Specifications

A.	General

3.01	Two elements are always used with 2WDI, 2WDH, 4WDH, and 2WDA unbundled loops. They are: CODF wire and tie cable(s), and subscriber loop facilities. Figure 3-1 illustrates the service elements and identifies the sections of this document that contain the requirements for each of the elements associated with 2WDI, 2WDH, and 2WDA unbundled loops. Figure 3-2 illustrates the service elements associated with the 4WDH unbundled loop.

Figure 3-1. 2WDI, 2WDH, or 2WDA Service Elements

Figure 3-2. 4WDH Service Elements

3.02	A third element, electronic transmission enhancement equipment, is sometimes used with 2WDI, 2WDH, or 4WDH unbundled loops. The requirements for such transmission enhancement equipment may be found in section 3F.

3.03	Two elements are always used with 4WD1.5 loops. They are: DSX-1 cross-connect wiring and tie cable(s), and subscriber loop facilities. Figure 3-2 illustrates the 4WD1.5 service elements and identifies the sections of this document that contain the specifications for each of the elements.

Figure 3-3. 4WD1.5 Service Elements

3.04	Two elements are always used with 4WDS3 loops. They are: DSX-3 cross-connect wiring and tie cable(s), and subscriber loop facilities. Figure 3-3 illustrates the 4WDS3 service elements and identifies the sections of this document that contain the specifications for each of the elements.

Figure 3-4. 4WDS3 Service Elements

B.	CODF Wiring and Tie Cable(s)

3.05	CODF cross-connect wiring and tie cable(s) are used to link the CODF termination of collocated CLEC equipment to the CODF termination of metallic subscriber loops, DLC COTs, and electronic transmission enhancement equipment.

3.06	The total combined length of all CODF cross-connect wiring and all CODF-to-CODF tie cables between the CODF termination of the CLEC equipment and the CODF termination of any subscriber loop in the same CO should be less than 1500 feet. No bridged tap is permitted in the CO.

3.07	The direct-current resistance between the CODF termination of the CLEC equipment and the CODF termination of any subscriber loop in the same CO should be less than 80 ohms. This is equal to 1500 or less feet of 24 gauge cable.

3.08	The 1 kHz loss measured on the CODF wiring and tie cables when measured between 900 ohm impedances should be .85 dB or less.

3.09	The C-message noise measured on the wiring and tie cables between the CODF termination of the CLEC equipment and the CODF termination of a subscriber loop in the same CO shall be 20 dBrnC or less.

C.	DSX-1 Wiring and Repeatered Tie Cable(s)

3.10	DSX-1 cross-connect wiring and tie cable(s) are used to link the DSX-1 termination of CLEC equipment to the DSX-1 termination of the VZ DS1 subscriber loop. In some cases, an electronic digital cross-connect system may be substituted for the DSX-1.

3.11	The total length of all DSX-1 cross-connect wiring should be less than 85 feet of 22 gauge cable.

3.12	When repeatered tie cables are used to link CLEC DSX-1 terminations to VZ DSX-1	terminations, the cabling between the repeaters and the DSX-1 panels shall be built-out in each direction of transmission such that the overall cabling and build-out is the equivalent of 655 feet of 22 gauge ABAM cable.

D.	DSX-3 Wiring and Repeatered Tie Cable(s)

3.13	DSX-3 cross-connect wiring and tie cable(s) are used to link the DSX-3 termination of CLEC equipment to the DSX-3 termination of the VZ DS3 subscriber loop. In some cases, an electronic digital cross-connect system may be substituted for the DSX-3.

3.14	The total length of all DSX-3 cross-connect wiring should be less than 27 feet of 75 ohm coaxial cable.

3.15	When repeatered tie cables are used to link CLEC DSX-3 terminations to VZ DSX-3	terminations, the cabling between the repeaters and the DSX-3 panels shall be built-out in each direction of transmission such that the overall cabling and build-out is the equivalent of 450 feet of 75 ohm coaxial cable.

E.	Subscriber Loop Facilities

3.16	Subscriber loop facilities consist of feeder and distribution plant between the CODF or DSX-1 and the EU customer's RDP. Feeder plant uses a variety of transmission technologies, including but not limited to, twisted-pair metallic cables, twisted-pair metallic cable based digital loop carrier, and fiber optic based digital loop carrier. Distribution plant usually consists of multipair metallic cables. Additional information about subscriber loops may be found in Bellcore SR-2275 [11].

3.17	Subscriber loop facilities have been designed on a global basis primarily to accommodate POTS and guarantee that loop transmission loss at 1 kHz is statistically distributed and that no single loop exceeds the signaling range of the CO.

3.18	Prior to 1980, loops were designed using one of the following design plans: Resistance Design, Long Route Design, or Unigauge Design. From 1980 to 1986, the Modified Resistance Design, Modified Long Route Design, and Concentrated Range Extension with Gain plans were applied on a going-forward basis (i.e., retroactive redesign was not implemented). In 1986, the Revised Resistance Design (RRD) plan was applied on a going-forward basis.

3.19	Most metallic loop facilities (98%) were designed using the RD, MRD, or RRD design rules. The RRD design rules currently in use limit the loop resistance to the design range of the CO switch (1300 or 1500 ohms) or 1500 ohms whichever is less. The vast majority of non-loaded loops, designed using these rules, are < 1300 ohms.

i.	Unbundled 2WDI Loop

3.20	The unbundled 2WDI loop uses a subscriber loop facility between the VZ CO and the EU-POT. The 2WDI loop is either:

(a)	a qualified metallic non-loaded facility consisting of cable and wire between the 	CODF and the RDP wire with no intermediate electronics; or,

(b)	a metallic loop facility with intermediate transmission enhancement equipment 	that consists of a qualified metallic non-loaded facility between the CODF and 	intermediate transmission enhancement equipment and a qualified metallic non-	loaded facility between the intermediate transmission enhancement equipment 	and the RDP; or,

(c)	a universal digital loop carrier (DLC) facility with 2B+1D ISDN Basic Rate 	transport capability via three DS0 channels. The DLC facility consists of:

-	CO cabling between the CODF and a DLC Central Office Terminal 	(COT) 	equipped with an ISDN Basic Rate Interface Terminal Equipment (BRITE) 	channel unit with NT functionality;

-	a fiber or metallic facility from the DLC COT to the DLC Remote Terminal 	(RT) equipped with an ISDN BRITE channel unit with LT functionality; 	and,

-	a qualified metallic non-loaded facility consisting of cable and wire between 					the DLC RT and the RDP.

3.21	An ISDN-qualified metallic loop facility shall meet the following criteria which is based on selected Revised Resistance Design guidelines:

(a)	The metallic cable shall be non-loaded.

(b)	The total length of the cable shall be less than 18 kft.

(c)	The direct current resistance measured between the CODF and the EU-					RDP shall be 1300 ohms or less.

(d)	Loaded bridged tap is not permitted.

(e)	The total length of all bridged tap shall be less than 6 kft.

(f)	The total cable length plus the bridged tap length shall not exceed 18 kft.

(g)	The 40 kHz loss when measured with 135 ohm impedances at each end 					shall be 40.0 dB or less.

3.22	Metallic loops that have a 40 kHz loss between 40 and 76 dB will require intermediate transmission enhancement equipment such as a mid-span repeater or similar device. Verizon spectrum management rules do not permit the placement of more than one mid-span repeater per loop. If a loop will not operate with one repeater, an alternative would be the construction of DLC.

3.23	The insulation resistance between the tip conductor and ground and the ring conductor and ground on the metallic loop portion of any unbundled 2WDI loop shall each be greater than 100 K ohms.

3.24	The longitudinal noise or power influence (PI) measured per IEEE Std 743-1995 [12] on a 2WDI metallic loop should be less than 90 dBrnC.

3.25	The longitudinal balance of a metallic 2WDI loop is defined as the longitudinal noise (in dBrnC) minus the C-message noise (in dBrnC). The longitudinal balance shall be >50 dB.

3.26 	An unbundled 2WDI loop will not operate properly on non-staggered twist cable (installed prior to 1923) or on flat ribbon cables, such as those used for some CPE interconnections. Such cable may need to be replaced to accommodate an unbundled 2WDI loop.

3.27	There is a potential for Basic Rate ISDN technology to interfere with 15 kHz Program Audio Service, extended range DDS technology, Type II and Type III PSDS, DVM technology associated with CO-LAN services, and analog carrier technology.

3.28	15 kHz Program Audio and unbundled 2WDI loops are spectrally compatible when they use pairs that are located in different binder groups. Pairs in non-adjacent binder groups are preferred but pairs in adjacent binder groups will usually provide adequate separation.

3.29	Extended Range DDS technology is spectrally compatible with unbundled 2WDI loops when they use pairs that are located in different binder groups.

3.30	Type II PSDS, which is also known as AT&T CSDC, is no longer available from VZ. Type III PSDS, which is also known as the Nortel Datapath technology, is spectrally compatible with unbundled 2WDI loops when they use pairs that are located in different binder groups.

3.31	VZ LANGATE service is a CO-LAN service that uses DVM technology. If DVMs are operated at less than 80% of the maximum specified range, they are spectrally compatible with unbundled 2WDI loops. If operated at or above the 80% range however, DVMs are spectrally compatible with unbundled 2WDI loops when they use pairs that are located in different binder groups.

3.32	Analog carrier technology is being phased out in VZ. Analog Carrier systems and unbundled 2WDI loops may need to be assigned to pairs in different cables in order to prevent the unbundled 2WDI loops from interfering with the Analog Carrier technology.

ii.	Unbundled 4WD1.5 Loop

3.33	An unbundled 4WD1.5 loop uses a subscriber loop facility between the CO and the EU-NID. The loop is either:

(a)	a qualified metallic non-loaded facility consisting of cable and wire between the 	CODF and the NID wire with no intermediate electronics; or,

(b)	a qualified metallic non-loaded facility consisting of cable and wire between the 	CODF and the NID wire with transmission enhancement equipment such as 	regenerators or HDSL technology; or,

(c)	a fiber facility with optical multiplexing equipment at each end from the CO to a 	Remote Terminal (RT) location with qualified metallic non-loaded cable and wire 	between the DLC RT and the NID.

3.34	When an unbundled 4WD1.5 loop is provided using 4-wire facilities with HDSL electronics at each end, each pair is non-loaded and meets selected Carrier Serving Area (CSA) design criteria.

3.35	When an unbundled 4WD1.5 loop is provided using 4-wire non-loaded facilities without electronics, the facility must not have bridged tap and the length is limited to less than 3000 feet (nominal).

3.36	When an unbundled 4WD1.5 loop is provided using 4-wire T1 span facilities, the loop is designed with DS1 regenerators spaced every 6000 feet (nominal) and with nominal 3000 foot end sections toward the CO and the end-user.

3.37	There is a potential for T1 span facilities to interfere with Analog Carrier technology, ADSL technology, 2WDA loops, and some types of CO-LAN DVM technology..

3.38	T1 technology is spectrally compatible with CO-LAN DVM technology when the technologies use pairs that are located in different binder groups.

3.39	Analog Carrier systems are being phased out in VZ. Analog Carrier systems and the T1 span facilities used for unbundled 4WD1.5 loops may need to be assigned to pairs in different cables to prevent 4WD1.5 unbundled loops from interfering with the Analog Carrier systems.

3.40	T1 technology and ADSL technology (including 2WDA loops) are spectrally compatible when they use pairs in different binder groups.

iii.	Unbundled 2WDH and 4WDH Loops

3.41	Unbundled 2WDH and 4WDH loops use a subscriber loop facility between the CO and the EU-RDP. The subscriber loop is either a 2-wire or 4-wire metallic non-loaded facility consisting of cable and wire between the CODF and the RDP wire with no intermediate electronics.

3.42	Unbundled 2WDH and 4WDH loops shall conform to the Carrier Serving Area (CSA) design guidelines shown below. Since CSA guidelines have not been used for metallic cables connecting COs with customer locations, most metallic loops will not meet all of the strict CSA criteria.

- The loop shall be non-loaded.

- Multi-gauge loops are restricted to two gauges (excluding short cable sections used for stubbing of fusing).

- The total length of all bridged tap shall be ( 2.5 kft.

- No single bridged tap may exceed 2.0 kft.

- The amount of 26 gauge cable, used alone or in combination with another gauge cable, may not exceed a total length of 9 kft including bridged tap.

- For single gauge or multi-gauge cables containing only 19, 22, or 24 gauge cable, the total cable length plus the total bridged tap length may not exceed 12 kft.

- The total cable length plus total bridged tap length of a multi-gauge cable that contains 26 gauge cable may not exceed:

12 -  (   3(L26)  (

(   9 - LBT (

where L26 is that total length (in kilofeet) of 26 gauge cable (excluding any 26 gauge bridged tap) and LBT is the total length (in kilofeet) of all bridged tap

- The dc resistance of the loop measured between the CODF and the EU-NID shall be 750 ohms or less.

- Loaded bridged tap is not permitted.

3.43	The insulation resistance between the tip conductor and ground and the ring conductor and ground on the metallic loop portion of any 2WDH or 4WDH loop shall each be greater than 300 K ohms.

3.44	It is currently known that HDSL technology is spectrally incompatible with a number of embedded services and technologies. These services and technologies include 15 kHz Program Audio Service, Type II and Type III PSDS, DVM technology associated with CO-LAN service, and Analog Carrier technology.

3.45	15 kHz Program Audio and 2WDH or 4WDH loops are spectrally compatible when they use pairs that are located in different binder groups. Pairs in non-adjacent binder groups are preferred, but pairs in adjacent binder groups will usually provide the necessary separation.

3.46	Type II PSDS, which is also known as AT&T CSDC, is no longer available from VZ. Type III PSDS services (Nortel Datapath technology) is spectrally compatible with 2WDH or 4WDH loops when the technologies use pairs that are located in different binder groups.

3.47	VZ LANGATE service is a CO-LAN service that uses DVM technology. If DVMs are operated at less than 80% of the maximum specified range, they are spectrally compatible with 2WDH and 4WDH loops. If operated at or above the 80% range however, DVMs are spectrally compatible with 2WDH and 4WDH loops when they use pairs that are located in different binder groups.

3.48	Analog Carrier systems are being phased out in VZ.. Analog Carrier systems and 2WDH or 4WDH loops may need to be assigned to pairs in different cables in order to prevent the 2WDH or 4WDH loops from interfering with the Analog Carrier technology.

iv.	Unbundled 2WDA Loops

3.49	Unbundled 2WDA loops use a subscriber loop facility between the CO and the EU-RDP.

3.50	An unbundled 2WDA-R loop shall meet the following selected Revised Resistance Design criteria:

- The loop shall be non-loaded.

- The total length of the loop shall be ( 18 kft.

- The total length of the loop plus the total bridged tap length shall be ( 18 kft.

- The direct current resistance of the loop measured between the CODF and the 	EU-RDP shall be 1300 ohms or less.

- The total length of all bridged tap shall be ( 6 kft.

- Loaded bridged tap is not permitted.

3.51	An unbundled 2WDA-C loop shall meet the following selected Revised Resistance Design criteria:

- The loop shall be non-loaded.

- The total length of the loop shall be ( 12 kft.

- The total length of the loop plus the total bridged tap length shall be ( 12 kft.

- The direct current resistance of the loop measured between the CODF and the 	EU-RDP shall be 1000 ohms or less.

- The total length of all bridged tap shall be ( 6 kft.

- Loaded bridged tap is not permitted.

3.52	The insulation resistance between the tip conductor and ground and the ring conductor and ground on unbundled 2WDA-R and 2WDA-C loops shall each be greater than 300 K ohms.

3.53	The 1kHz loss acceptance limit of an 2WDA-R metallic loop facility when measured with a 900 ohm impedance at the CODF and a 600 ohm impedance at the RDP shall be 8.5 dB or less.

3.54	The 1kHz loss acceptance limit of an 2WDA-C metallic loop facility when measured with a 900 ohm impedance at the CODF and a 600 ohm impedance at the RDP shall be 6.0 dB or less.

3.55	The C-message noise measured on an 2WDA metallic loop at the RDP shall be less than 30 dBrnC.

3.56	The longitudinal noise or power influence (PI) measured per IEEE Std 743-1995 [12] on an 2WDA metallic loop should be less than 90 dBrnC.

3.57	The longitudinal balance of a metallic 2WDA loop is defined as the longitudinal noise (in dBrnC) minus the C-message noise (in dBrnC). The longitudinal balance shall be >50 dB.

3.58 	An unbundled 2WDA loop will not operate properly on non-staggered twist cable (installed prior to 1923) or on flat ribbon cables, such as those used for some CPE interconnections. Such cable may need to be replaced to accommodate 2WDA loops.

3.59	It is currently known that ADSL technology is spectrally incompatible with a number of embedded services and technologies. These services and technologies include 15 kHz Program Audio services, Type II and Type III PSDS, DVM technology associated with CO-LAN service, Analog Carrier technology, and some ADSL applications.

3.60	15 kHz Program Audio and 2WDA loops are spectrally compatible when they use pairs that are located in different binder groups. Pairs in non-adjacent binder groups are preferred, but pairs in adjacent binder groups will usually provide the necessary separation.

3.61	Type II PSDS, which is also known as AT&T CSDC, is no longer available from VZ. Type III PSDS services (Nortel Datapath technology) is spectrally compatible with 2WDA loops when the technologies use pairs that are located in different binder groups.

3.62	VZ LANGATE service is a CO-LAN service that uses DVM technology. If DVMs are operated at less than 80% of the maximum specified range, they are spectrally compatible with 2WDA loops. If operated at or above the 80% range however, DVMs are spectrally compatible with 2WDA loops when they use pairs that are located in different binder groups.

3.63	Analog Carrier systems are being phased out in VZ. Analog Carrier systems and 2WDA loops may need to be assigned to pairs in different cables in order to prevent 2WDA loops from interfering with the Analog Carrier technology.

3.64	2WDA loops are not intended for applications that have spectral energy at power levels or in frequency bands that can interfere with other ADSL technology (including other 2WDA loops) in the same cable. Such interfering applications include:

- Reverse ADSL applications (i.e., End-user CPE transmits downstream frequencies and CO equipment transmits upstream frequencies);

- End-user to end-user ADSL applications (i.e., CPE at one end transmits downstream frequencies);

- Echo canceling ADSL technology or applications that permit the upstream frequency band to overlap the downstream frequency band defined in this document; and,

- Applications that use the power boost option described in ANSI T1.413-1995 (i.e., power level exceeds the PSD templates specified in this document).

v.	Unbundled 4WDS3 Loop

3.65	An unbundled 4WDS3 loop uses a subscriber loop transport system between the serving CO and the EU NID. The loop transport system usually consists of, but is not limited to, either:

- an asynchronous fiber optic transport system; or,

- a Synchronous Optical NETwork (SONET) transport systems.

3.66	The loop transport system used for a 4WDS3 loop shall support the 4WDS3 performance criteria in Section 4.

F.	Transmission Enhancement Equipment

3.67	Transmission  enhancement equipment is sometimes used with 2WDI, 2WDH, and 4WDH loops. Such equipment can consist of a CO span power module and a Basic Rate ISDN mid-span repeater, a Basic Rate ISDN extended range system, or an HDSL doubler.

3.68	The span power module is located in the CO and provides power to a Basic Rate ISDN mid-span repeater. A Basic Rate ISDN mid-span repeater regenerates the 2B1Q line code. The repeater has NT functionality that faces the CLEC equipment and LT functionality that faces the RDP. A mid-span repeater can be deployed when the calculated loss of the non-repeatered loop at 40 kHz (excluding BT) is > 40.0 < 76.0 dB.

3.69	Basic Rate ISDN extended range systems consist of a unit located in the CO that has NT functionality and a 2B1Q line code that faces the CLEC equipment and a remote unit near the RDP that has LT functionality and delivers a 2B1Q line code to the EU customer. The CO unit uses a line code that is spectrum compatible with VZ services. The line code permits operation with a remote unit that is connected via a metallic cable that could have a 40 kHz loss of up to 60 dB.

3.70	The impedance of transmission enhancement equipment used with an unbundled 2WDI loop shall be a nominal 135 ohms.

3.71	Transmission enhancement equipment for an unbundled 2WDI loop shall provide sealing current when the RDP is terminated by a direct-current resistance of 135 ohms.

3.72	An HDSL doubler is a special type of mid-span repeater that regenerates the HDSL line code. An HDSL doubler can be deployed when the calculated loss of the non-repeatered loop exceeds the manufacturer’s specifications. HDSL doublers are limited to limited to approved technology.

4.	Service Specifications

A.	General

4.01	Parameters are tested at the NID in response to trouble reports or when additional testing is purchased.

4.02	Network Channel (NC) and Network Channel Interface (NCI) codes are used for providing channel and interface information to customers. The NC/NCI code set facilitates the identification of network channel requirements and associated interface specifications for services described in tariffs.

4.03	For unbundled digital loops, the NC code is an encoded representation of the channel that is provided by from the CLEC Point Of Termination (POT) to the EU-POT. By varying the NC code, the customer is allowed to further specify the type of channel.

4.04	The NCI code is an encoded representation used to identify five interface elements located at a POT. The five elements reflect the following physical and electrical characteristics: number of physical conductors, protocol, impedance, protocol options, and transmission levels points (if applicable).

4.05	Examples of the most common NC and NCI codes are given for each type of unbundled digital loop described in this section. The complete set of codes may be found in SR-STS-000307 [13].

4.06	Valid NCI code combinations are shown for each unbundled digital loop described in this section. Complete NC/NCI compatibility information may be found in SR-STS-000323 [14].

B.	Unbundled 2WDI Loop

4.07	The overall end-to-end unbundled 2WDI loop service is from the CODF termination of the CLEC equipment to the EU customer's NID or RDP.

4.08	Unbundled 2WDI loops will use the DYVU service code.

4.09	2WDI NC code information is shown in Figure 4-1 and 2WDI NCI code combinations are shown in Figure 4-2.

4.10	2WDI Acceptance Limits (AL) and Immediate Action Limits (IAL) are shown in Table 4-3.

4.11	When digital loop carrier (DLC) is used to provide 2WDI, the DLC will provide an ISDN Basic Rate interface at the NID or RDP that meets the network requirements in ANSI T1.601-1992 [1].

Figure 4-1: 2WDI NC Codes

| NC CODE | Character 3 | Character 4 |
| --- | --- | --- |
| UB | - | - |

Figure 4-2: 2WDI NCI Code Combinations

| CLEC-POT | EU-POT |
| --- | --- |
| 02QC5.OOS | 02IS5 |

Figure 4-3:  2WDI Acceptance Limits (AL) and  Immediate Action Limits (IAL)

| Parameter | AL | IAL |
| --- | --- | --- |
| 40 kHz loss @ 135 ohms | ( 40.0 dB | > 42.0 dB |
| Loop Resistance | ( 1300 ohms | > 1300 ohms |
| Insulation Resistance | (100 kilohms | < 100 kilohms |
| Power Influence | ( 90 dBrnC | > 90 dBrnC |

C.	Unbundled 4WD1.5 Loop

4.12	The overall end-to-end unbundled 4WD1.5 loop service is from the DSX-1 termination of the CLEC equipment to the EU customer's NID.

4.13	Unbundled 4WD1.5 loops will use the DHDU and HCFU service codes.

4.14	Unbundled 4WD1.5 loops shall provide an electrical DSX-1 interface at the CLEC-POT that meets the DSX-1 specifications in ANSI T1.102-1993 [4]. The DS1 interface at the NID shall meets the network specifications in ANSI T1.403-1995 [3].

4.15	4WD1.5 NC code information is shown in Figure 4-4, and 4WD1.5 NCI code combinations are shown in Figure 4-5.

4.16	4WD1.5 performance objectives are shown in Figure 4-6 and 4WD1.5 test limits are shown in Figure 4-7.

4.17	Availability is a measure of the relative amount of time that a service is “usable” by the customer. Unavailability begins when the Bit Error Ratio (BER) in each second is worse than 1 x 10-3 for a period of 10 consecutive seconds. The 4WD1.5 objective is 99.925 percent availability in any twelve consecutive months. Availability equals the total time minus the outage time divided by the total time.

4.18	Accuracy denotes the error performance and is usually specified in terms of errored seconds (ES), or conversely, error-free seconds (EFS). EFS are the primary measure of error performance for 4WD1.5. An EFS is any second that an error does not occur.

4.19	A Severely Errored Second (SES) is any one second interval that has a BER of less than (worse than) 1 x 10-3.

Figure 4-4: 4WD1.5 NC Codes

| NC CODE | Character 3 | Character 4 |
| --- | --- | --- |
| HC | - (SF and AMI) | - |
| HC | D (ESF and AMI) | - |
| HC | E (ESF and B8ZS) | - |
| HC | Z (SF and B8ZS) | - |
| HC | E (ESF and B8ZS) | I (ISDN PRA) |

Figure 4-5: 4WD1.5 NCI Code Combinations

| CLEC-POT | EU-POT |
| --- | --- |
| 04QB9.11 | 04DU9.BN (SF and AMI) |
| 04QB9.11 | 04DU9.DN (SF and B8ZS) |
| 04QB9.11 | 04DU9.1KN (ESF and AMI) |
| 04QB9.11 | 04DU9.1SN (ESF and B8ZS) |

Figure 4-6:  4WD1.5 Performance Objectives

| Parameter | Objective |
| --- | --- |
| Accuracy | 0.25 % errored seconds long-term (30 days or more) |
| Availability | 99.925 % per year |

Figure 4-7: 4WD1.5 Test Limits

| Test Duration | Errored Seconds | Severely Errored Seconds |
| --- | --- | --- |
| 15 min | 0 | 0 |
| 30 min | ( 3 | 0 |
| 45 min | ( 5 | ( 2 |
| 24 hours | ( 150 | ( 7 |

4.20	Acceptance testing for 4WD1.5 should be performed with a Quasi Random Signal Source (QRSS), on an CLEC-POT to EU-POT basis, using ES performance parameters.

4.21	If VZ has installed a loopback device on the 4WD1.5, a dispatch for “cooperative testing” will not ordinarily be made and testing will be performed remotely. Normally, a technician will be dispatched by VZ in the following instances:

(a)	The 4WD1.5 is not equipped with a loopback device;

(b)	The loopback device is inoperable;

(c)	Test results do not meet applicable limits;

(d)	The CLEC requests a dispatch.

4.22	At the request of the CLEC, VZ will provide the remote test results to the CLEC.

4.23	Other tests may be performed in response to trouble reports or when additional testing is purchased. The 3/24, 1/8, and All Ones patterns are acceptable diagnostic stress tests for unbundled 4WD1.5 loops when used in accordance with Figure 4-8.

4.24	The patterns in Figure 4-8 may not detect all possible troubles. Additional tests may be required using other patterns designed to detect specific problems (e.g. bridged tap, etc).

4.25	If errors are detected using the QRSS, 3/24, or 1/8 patterns, it is recommended that the 4WD1.5 line code options (AMI/B8ZS) be verified using the procedures outlined in the Verizon Network Services Reference Manual Series 72710 & NS6050 [15]. These tests make use of the Framed 2/8 and Framed 1/8 patterns.

Figure 4-8: Pattern sensitivity test criteria (see notes 1 and 2)

| TEST PATTERN (see note 3) | TEST DURATION | ACCEPTANCE LIMIT |
| --- | --- | --- |
| All Ones | 5 minutes | 0 |
| 3/24 (AMI only) | 5 minutes | 0 |
| 1/8 | 5 minutes | 0 |
| Framed All Zeros (4) (B8ZS only) | 30 seconds | (see note 5) |

Notes:

(1) Test patterns should be framed.

(2) One retest is allowed if the initial test fails.

(3) If compatible test equipment is not available to perform these tests, loopback testing should be utilized.

(4) WARNING: If used with the DS1 SF framing format, zeros will occur in time slot 2 of every octet (channel). Terminal equipment will display a false Remote Alarm Indication (a.k.a., yellow alarm). In addition, the use of the framed all-zeros pattern through some types of DS3 equipment may cause DS1 failure if the equipment is not properly optioned for B8ZS.

(5) As an equipment option check, failure will typically be seen as large error counts. Very low counts (e.g., 1 or 2 errors) are not  indicative of an optioning problem.

## D.	Unbundled 2WDH and 4WDH Loops

4.26	The overall end-to-end unbundled 2WDH and 4WDH loop services are from the CODF termination of the CLEC equipment to the EU customer's NID.

4.27	Unbundled 2WDH and 4WDH loops will use the AQDU service code.

4.28	2WDH and 4WDH NC code information is shown in Figure 4-12 and 2WDH and 4WDH NCI code combinations are shown in Figure 4-13.

4.29	2WDH and 4WDH Acceptance Limits (AL) and Immediate Action Limits (IAL) are shown in Table 4-14.

Figure 4-9: 2WDH and 4WDH NC Codes

| NC CODE | Character 3 | Character 4 |
| --- | --- | --- |
| LX | C (NL < 12kft) | - |

Figure 4-10: 2WDH and 4WDH NCI Code Combinations

| CLEC-POT | EU-POT |
| --- | --- |
| 02QB5.00H (2WDH) | 02DU5.00H |
| 04QB5.00H (4WDH) | 04DU5.00H |

Figure 4-11:  2WDH and 4WDH Acceptance Limits (AL) and  Immediate Action Limits (IAL)

| Parameter | AL | IAL |
| --- | --- | --- |
| Foreign Voltage * | ( 1 volt | > 1 volt |
| Insulation Resistance | ( 300 kilohms | < 120 kilohms |
| Loop Resistance | ( 750 ohms | > 750 ohms |
| 196 kHz Loss @ 135 ohms | ( 53 dB | ( 53 dB |
| Wideband Noise (50 kb filter) | ( 28 dBrn | > 28 dBrn |
| Impulse Noise | ( 7 counts in 15 minutes with 44 dBrn threshold | ( 7 counts in 15 minutes with 44 dBrn threshold |
| Power Influence | ( 90 dBrnC | > 90 dBrnC |

* Foreign voltage must be measured with a high impedance voltmeter or erroneous readings may result. Tip-to-ring voltages must be ( 1 Vdc and ( 1 Vac. Tip-to-ground and ring-to-ground voltages must be ( 1 Vdc and ( 50 Vac

E.	Unbundled 2WDA-R Loop

4.30	The overall end-to-end unbundled 2WDA-R loop service is from the CODF termination of the CLEC equipment to the EU customer's NID or RDP.

4.31	Unbundled 2WDA-R loops will use the ARSU and ARDU service codes.

4.32	2WDA-R NC code information is shown in Figure 4-15 and 2WDA-R NCI code combinations are shown in Figure 4-16.

4.33	2WDA-R Acceptance Limits (AL) and Immediate Action Limits (IAL) are shown in Table 4-17.

Figure 4-12: 2WDA-R NC Codes

| NC CODE | Character 3 | Character 4 |
| --- | --- | --- |
| LX | R (NL ( 18kft) | - |

Figure 4-13: 2WDA-R NCI Code Combinations

| CLEC-POT | EU-POT |
| --- | --- |
| 02QB9.00A (DMT) | 02DU9.00A (DMT) |
| 02QB9.00C (CAP) | 02DU9.00C (CAP) |
| 02QB9.01A (POTS + DMT) | 02DU9.01A (POTS + DMT) |
| 02QB9.01C (POTS + CAP) | 02DU9.01C (POTS + CAP) |

Figure 4-14:  2WDA-R Acceptance Limits (AL) and  Immediate Action Limits (IAL)

| Parameter | AL | IAL |
| --- | --- | --- |
| Foreign Voltage* | ( 1 volt | > 1 volt |
| Insulation Resistance | ( 300 kilohms | < 120 kilohms |
| Loop Resistance | ( 1300 ohms | > 1300 ohms |
| 1004 Hz loss ** | ( 8.5 dB | > 10.0 dB |
| 196 kHz Loss @ 135 ohms | ( 78 dB | ( 78 dB |
| C-Message Noise ** | ( 30 dBrnC | > 30 dBrnC |
| Wideband Noise (50 kb filter) | ( 28 dBrn | > 28 dBrn |
| Impulse Noise | ( 7 counts in 15 minutes with 44 dBrn threshold | ( 7 counts in 15 minutes with 44 dBrn threshold |
| Power Influence | ( 90 dBrnC | > 90 dBrnC |

* Foreign voltage must be measured with a high impedance voltmeter or erroneous readings may result. Tip-to-ring voltages must be ( 1 Vdc and ( 1 Vac. Tip-to-ground and ring-to-ground voltages must be ( 1 Vdc and ( 50 Vac.

** Voice band parameters do not apply to non-POTS applications.

F.	Unbundled 2WDA-C Loop

4.34	The overall end-to-end unbundled 2WDA-C loop service is from the CODF termination of the CLEC equipment to the EU customer's NID or RDP.

4.35	Unbundled 2WDA-C loops will use the ARSU and ARDU service codes.

4.36	2WDA-C NC code information is shown in Figure 4-18 and 2WDA-C NCI code combinations are shown in Figure 4-19.

4.37	2WDA-C Acceptance Limits (AL) and Immediate Action Limits (IAL) are shown in Table 4-20.

Figure 4-15: 2WDA-C NC Codes

| NC CODE | Character 3 | Character 4 |
| --- | --- | --- |
| LX | C (NL ( 12kft) | - |

Figure 4-16: 2WDA-C NCI Code Combinations

| CLEC-POT | EU-POT |
| --- | --- |
| 02QB9.00A (DMT) | 02DU9.00A (DMT) |
| 02QB9.00C (CAP) | 02DU9.00C (CAP) |
| 02QB9.01A (POTS + DMT) | 02DU9.01A (POTS + DMT) |
| 02QB9.01C (POTS + CAP) | 02DU9.01C (POTS + CAP) |

Figure 4-17:  2WDA-C Acceptance Limits (AL) and  Immediate Action Limits (IAL)

| Parameter | AL | IAL |
| --- | --- | --- |
| Foreign Voltage* | ( 1 volt | > 1 volt |
| Insulation Resistance | ( 300 kilohms | < 120 kilohms |
| Loop Resistance | ( 1000 ohms | > 1000 ohms |
| 1004 Hz loss ** | ( 6.0 dB | > 6.5 dB |
| 196 kHz Loss @ 135 ohms | ( 53 dB | ( 53 dB |
| C-Message Noise** | ( 30 dBrnC | > 30 dBrnC |
| Wideband Noise (50 kb filter) | ( 28 dBrn | > 28 dBrn |
| Impulse Noise | ( 7 counts in 15 minutes with 44 dBrn threshold | ( 7 counts in 15 minutes with 44 dBrn threshold |
| Power Influence | ( 90 dBrnC | > 90 dBrnC |

* Foreign voltage must be measured with a high impedance voltmeter or erroneous readings may result. Tip-to-ring voltages must be ( 1 Vdc and ( 1 Vac. Tip-to-ground and ring-to-ground voltages must be ( 1 Vdc and ( 50 Vac

** Voice band parameters do not apply to non-POTS applications.

G.	Unbundled 4WDS3 Loop

4.38	The overall end-to-end unbundled 4WDS3 loop service is from the DSX-3 termination of the CLEC equipment to the EU customer's NID.

4.39	Unbundled 4WDS3 loops will use the HFFU and HIDU service codes.

4.40	Unbundled 4WS3 loops shall provide an electrical DSX-3 interface at the CLEC-POT that meets the DSX-3 specifications in ANSI T1.102-1993 [4]. The DS3 interface at the EU-POT shall meet the network specifications in ANSI T1.404-1994 [10].

4.41	The transmission rate of the DS3 signal shall be 44.736 Mbit/s +/- 895 b/s (+/- 20 ppm) in the self-timed free-running mode.

4.42	The DS3 line code shall meet the B3ZS line code specifications in ANSI T1.102-1993 [4].

4.43	The DS3 signal shall meet the M23 frame format specifications in ANSI T1.107-1995 [16].

4.44	4WDS3 NC code information is shown in Figure 4-21, and 4WDS3 NCI code combinations are shown in Figure 4-22.

4.45	4WDS3 performance objectives are shown in Figure 4-23 and 4WDS3 test limits are shown in Figure 4-24.

4.46	Availability is a measure of the relative amount of time that a service is “usable” by the customer. Unavailability begins when the Bit Error Ratio (BER) in each second is worse than 1 x 10-3 for a period of 10 consecutive seconds. Transition to the available state occurs again at the beginning of 10 consecutive seconds none of which is a severely errored second. Availability equals the total time minus the outage time divided by the total time.

4.47	The DS3 unavailability objective is 263 minutes per year. This equates to 99.95 percent availability in any twelve consecutive months.

4.48	Accuracy denotes the error performance and is usually specified in terms of errored seconds (ES), or conversely, error-free seconds (EFS). An EFS is any second that an error does not occur.

4.49	A Severely Errored Second (SES) is any one second interval that has a BER of less than (worse than) 1 x 10-3.

4.50	DS3 acceptance testing should be performed with a QRSS or PRBS pattern using the ES performance parameters in Figure 4-2. The PRBS is a binary sequence that approximates a random signal and is recommended for DS3. The PRBS pattern for DS3 is 223 -1 bits in length and generates every combination of 23-bit words.

4.51	If the DS3 has remote loopback capability, a dispatch for “cooperative testing” will not ordinarily be made and testing will be performed remotely. Normally, a technician will be dispatched by VZ in the following instances:

(a)	The DS3 is not equipped with loopback capability;

(b)	The DS3 loopback capability is inoperable;

(c)	Test results do not meet applicable limits;

(d)	The CLEC requests a dispatch.

Figure 4-18:  4WDS3 NC Code

| NC Code | Character 3 | Character 4 |
| --- | --- | --- |
| HF | - | - |

Figure 4-19: Valid 4WDS3 NC/NCI Code Combinations

| CLEC-POT | EU-POT |
| --- | --- |
| 04QB6.33 | 04DS6.44 |

Figure 4-20:  4WDS3 Performance Objectives

| Parameter | Objective |
| --- | --- |
| Accuracy | 0.5% errored seconds long-term (30 days or more) 0.01% severely errored seconds long-term (30 days or more) |
| Availability | 99.950 % available per year |

Figure 4-21:  4WDS3 Test Limits

| Test Duration | Errored Seconds | Severely Errored Seconds |
| --- | --- | --- |
| 1 hour | ( 5 | 0 |
| 2 hours | ( 18 | ( 2 |
| 24 hours | ( 300 | ( 7 |

5.	CLEC Equipment and CO Cabling Requirements

A.	CLEC Equipment Requirements

5.01	Collocated CLEC equipment used for interconnection with unbundled digital loops shall meet all of the applicable generic equipment requirements in Bellcore GR-63-CORE [17] and Bellcore GR-1089-CORE [6].

5.02	Collocated CLEC equipment used for interconnection with unbundled digital loops shall be manufactured in accordance with FCC, NEC, UL, and USDL requirements and orders applicable to Federal, State, and local requirements including, but not limited to, statutes, rules, regulations, orders, or ordinances, or otherwise imposed by law. Requirements that are not specified in this document, contractual technical requirements, or other applicable documents, shall meet the manufacturer's requirements consistent with industry standards.

5.03	The open circuit tip-to-ring dc voltage that collocated CLEC equipment applies to VZ VF cabling shall be less than 80 Vdc.

5.04	Collocated CLEC equipment shall not deliver more than 2.5 watts of power to any load via VZ VF cable.

5.05	Collocated CLEC equipment shall not deliver more than 150 mA of loop current to any load via VZ VF cable.

5.06	The noise limits for unbundled digital loops require collocated CLEC equipment to have a longitudinal balance of  >60 dB.

5.07	The loss and noise limits for unbundled 2WDI loops require collocated CLEC equipment to have a nominal impedance of  135 ohms.

5.08	The maximum power level of any transmitted signal on an unbundled 2WDI loop shall not exceed the PSD mask in Figure 2-2 and the specifications in ANSI T1.601-1992 [1].

5.09	The maximum power level of any transmitted signal on an unbundled 4WD1.5 loop shall not exceed the specifications in ANSI T1.403-1993 [3].

5.10	The maximum power level of any transmitted signal on an unbundled 2WDH or 4WDH loop shall not exceed the PSD mask in Figure 2-7 and the specifications in T1 Technical Report No. 28 [5].

5.11	The maximum power level of any transmitted upstream signal on an unbundled 2WDA-R or 2WDA-C loop shall not exceed the applicable upstream PSD mask in Figure 2-9 or Figure 2-10. The maximum power level of any transmitted downstream signal on an unbundled 2WDA-R or 2WDA-C loop shall not exceed the applicable downstream PSD mask in Figure 2-11 or Figure 2-12.

5.12	The maximum power level of any transmitted signal on an unbundled 4WDS3 loop shall not exceed the specifications in ANSI T1.404-1994 [10].

5.13	Unbundled loops may be exposed to electrical surges from lightning and commercial power system disturbances. Despite protective devices on the CODF, some of these disturbances are likely to reach CLEC equipment. CLEC equipment shall be designed to withstand certain surges without being damaged, and shall fail in a safe manner under infrequent high stress.

5.14	The prevalent voltage-limiting device available for CO use is the 3-mil carbon block. This device has an upper 3( limiting voltage of 1000 volts peak under surge conditions and 600 volts rms (800 peak) at 60 Hz. CLEC equipment connected to digital unbundled loop services with loops protected by carbon blocks may be subjected to voltages up to these levels. Unexposed COs may not have primary protection, and CLEC equipment not co-ordinating with carbon blocks may need protection in these locations.

5.15	If the subscriber loop facility is exposed to commercial ac power, the CO protector may also include 350 mA heat coils for limiting the current that is permitted to flow to CO equipment. In addition, a protective

fuse cable located outside the CO incorporating 24 or 26 AWG conductors to coordinate with the protector, serves to limit current to safe levels in the event of prolonged operation of the protector during power fault conditions.

B.	CLEC Equipment CO Cabling Requirements

5.16	The CO cabling used to terminate CLEC equipment on the CODF shall use twisted-pair conductors.

5.17	The type, gauge, and length of the CLEC CODF cabling shall be specified based on this specification and CLEC equipment requirements. If the specifications in this document differ from the CLEC equipment manufacturers specifications, then the more stringent of the two shall be used.

5.18	The direct-current resistance of the CO cabling between the CLEC equipment and the CODF shall meet the CO cabling requirements in the Bellcore FR-TSY-000064 [18] (i.e., 23 ohms or less). This is equivalent to 275 feet or less of 26 gauge cable, 440 feet or less of 24 gauge cable, and 700 feet or less of 22 gauge cable.

5.19	All CO cabling between CLEC equipment and the CODF shall be connected as specified by the VZ CO Engineer.

5.20	The 1kHz loss of the CO cabling between the CLEC equipment and the CODF, when measured between 900 ohm impedances, shall be less than .15 dB.

5.21	The C-message noise measured on the CO cabling between the CLEC equipment and the CODF shall be 20 dBrnC or less.

C.	CLEC DSX-1 Cabling Requirements

5.22	CLEC DSX-1 cabling and build-out in each direction of transmission shall be the equivalent of 655 feet of 22 gauge ABAM cable.

D.	CLEC DSX-3 Cabling Requirements

5.23	CLEC DSX-3 cabling and build-out in each direction of transmission shall be the equivalent of 450 feet of 75-ohm coaxial cable.

6.	References

A.	Definitions

Asymmetrical Digital Subscriber Line (ADSL)

A transmission system that is capable of transmitting digital signals at different upstream and downstream rates on the same loop as POTS.  Standard ADSL systems use the Discrete Multitone (DMT) line code.

B Channel

The B channel is a 64 kilobit per second channel used for information transfer between users.

Bit

An abbreviation for binary digit; one of the members of a set of two in the binary numeration system, e.g., either or the digits 0 or 1. Also, a unit of information; one bit of information is sufficient to specify one of two equal and likely possibilities, usually meaning yes or no.

Bridged tap

Any branch section of a cable pair, or any extension of a cable pair beyond the point where it is used, in which no direct current flows when customer equipment is connected and used.

Carrierless AM/PM (CAP)

An ADSL line code technique that maps serial bits into phase and quadrature symbols and uses a filter to provide passband spectral shaping.

Carrier Serving Area (CSA) Design

Loop distribution design guidelines developed for metallic extensions from Digital Loop Carrier Remote Terminals to customer premises. Maximum CSA cable length plus total bridged tap is (12 kft.

Central Office (CO)

A telephone company building which houses equipment and facilities used to provide switched access services.

Central Office Distributing Frame (CODF)

Framework located in a CO that holds wire cross-connects which are used to interconnect cable terminations for EU customer loops, switching system ports, and inter-office facilities.

Certified Local Exchange Carrier (CLEC)

An organization that has been certified in a state to provide local exchange telecommunications services to the public.

Channel

An electrical, or photonic communications path between two or more points of transmission.

C-Message Noise

The frequency-weighted, short-term average noise within an idle channel. The frequency weighting, called C-message, is used to account for the variations in 500-type telephone set transducer efficiency and EU annoyance to tones as a function of frequency.

dBm

A unit for expression of power level in decibels relative to one milliwatt.

dBrn

A unit used to express noise power in decibels relative to one picowatt (-90 dBm).

dBm0

A unit used to express power level in decibels relative to one milliwatt referred to, or measured at, a zero transmission level point (0TLP). A unit used to express noise power in decibels relative to one picowatt measured with C-message weighting.

dBrnC0

Noise power in dBrnC referred to, or measured at, a zero transmission level point (0TLP).

D Channel

The D Channel is a 16 kilobit per second packet-switched channel that carries signaling and control for the B channels and also supports customer packet data traffic at speeds up to 9.6 kilobits per second.

Decibel (dB)

The logarithmic unit of signal power ratio most commonly used in telephony. It is used to express the relationship between two signal powers, usually between two acoustic, electric, or optical signals; it is equal to ten times the common logarithm of the ratio of the two signal powers.

Digital Signal Level One (DS1)

A digital signal transmitted at the nominal rate of 1.544 Mbit/s.

Digital Signal Level Three (DS3)

A digital signal transmitted at the nominal rate of 44.736 Mbit/s.

Discrete Multitone (DMT)

An ADSL line code that is a version of multi-carrier modulation that allows allocation of physical payload data bits and perhaps transmitter power among many subchannels depending on the loss and interference encountered.

Drop wire

The last portion of many subscriber loops that connects the distribution cable to the customer premises. The most common aerial drop wire (F-type) has parallel 18 ½ gauge steel conductors that are not twisted. Drop wires are usually less than 700 feet and less than 25 ohms.

Digital Signal Cross-Ccnnect Level One (DSX-1)

A mechanical DS1 cross-connect frame where +/- 3 volt bipolar AMI signals are interconnected.

Facilities

Any cable, poles, conduit, microwave, or carrier equipment, central office distributing frames, central office switching equipment, computers (both hardware and software), business machines, etc., utilized to provide the services offered by a telephone company.

Foreign Voltage

Foreign voltage is any extraneous voltage that appears on the loop. Two examples of foreign voltage are an ac voltage induced onto the loop from an adjacent parallel commercial power facility or a dc voltage conducted through wet cable. Foreign voltage must be measured with a high impedance voltmeter or erroneous readings may result.

High-Bit-Rate Digital Subscriber Line (HDSL)

An echo-canceller-with-hybrid system that provides full duplex transmission over a single metallic twisted-pair at a line rate up to 784 kbps using the 2B1Q line code.

Insulation Resistance

The resistance between the tip and ring conductors of an insulated metallic pair or the resistance between each conductor and ground. Also known as leakage or leakage resistance.

Integrated Services Digital Network (ISDN)

ISDN describes the end-to-end digital telecommunications network architecture which provides for the simultaneous access, transmission , and switching of voice, data, and image services. These functions are provided via channelized transport facilities over a limited number of standard user-network interfaces.

Loop

A transmission channel between a EU customer location and a VZ CO that is used as a transmission channel for telephone company services.

Plain Ordinary Telephone Service (POTS)

The basic single line switched access service offered by local exchange carriers to residential and business customers. POTS uses loop-start signaling.

Power Influence (PI)

The power of a longitudinal signal induced in a metallic loop by an electromagnetic field emanating from a conductor or conductors of a power system. PI is also called longitudinal noise or noise-to-ground.

Rate Demarcation Point (RDP)

The point at which VZ network access recurring charges and responsibility stop and beyond which customer responsibility begins. The RDP is the point of demarcation and/or interconnection between a VZ subscriber loop facility and EU premises cabling or terminal equipment. VZ facilities at, or constituting, the rate demarcation point shall consist of wire or a connector conforming to Subpart F of Part 68 of FCC rules.

Revised Resistance Design (RRD)

Loop design guidelines used after 1986. RRD design criteria allows up to 1300 ohms of non-loaded cable. Non-loaded cable is further limited in length to 18 kft. The total length of all bridged tap should not exceed 6 kft. The total length of all non-loaded cable plus the length of all bridged tap should not exceed 18 kft. Loaded bridged tap is not permitted.

Secondary Channel

A capability that offers the customer a companion digital transmission channel independent of the Primary Channel at a lower bit rate than the Primary Channel.

Synchronous Transmission

Transmission that has three levels of synchronization: bit, character, and message. Bit synchronization refers to the need for the transmitter and receiver to operate at the same rate. Other levels of synchronization refer to the need for the transmitter and receiver to achieve proper phase alignment, so that the beginning and end of a character, message, time slot, or frame can be readily, identified for information retrieval.

Transmission Enhancement Equipment

In general, any equipment that improves the characteristics of a transmitted signal. In this document, transmission enhancement equipment is any equipment that regenerates a digital signal.

Unbundled Loop

A transmission channel between a EU customer location and a LEC CO that is not a part of, or connected to, other LEC services.

Unbundled 2WDA-C Loop

An unbundled 2-wire loop that meets selected Revised Resistance Design criteria (i.e., non-loaded, length ( 12 kft, etc.) and is suitable for the transport of POTS signals and ADSL signals at different downstream and upstream rates.  The actual data rate on a particular unbundled 2WDA-C loop depends upon the performance of the CLEC and EU-provided modems with the electrical characteristics (length, bridged tap, noise, etc.) associated with the loop.

Unbundled 2WDA-R Loop

An unbundled 2-wire loop that meets selected Revised Resistance Design criteria (i.e., non-loaded, length ( 18 kft, etc.) and is suitable for the transport of POTS signals and ADSL signals at different downstream and upstream rates.  The actual data rate on a particular unbundled 2WDA-R loop depends upon the performance of the CLEC and EU-provided modems with the electrical characteristics (length, bridged tap, noise, etc.) associated with the loop.

Unbundled 2-Wire Digital ADSL-Qualified (2WDA) Loop

An unbundled loop that provides an effective 2-wire channel that may be suitable for the transport of POTS and ADSL signals between the Verizon central office distributing frame termination of collocated equipment belonging to a CLEC and the rate demarcation point at a customer location. Two types of unbundled 2-wire ADSL-qualified loops are offered: the unbundled 2WDA-R loop and the unbundled 2WDA-C loop.

Unbundled 2-Wire Digital ISDN-Qualified (2WDI) Loop

An unbundled loop that provides an ISDN basic rate channel between the Verizon central office distributing frame termination of collocated equipment belonging to a CLEC and the rate demarcation point at a customer location. The channel is suitable for the transport of 160 kbps digital signals in both directions simultaneously using the 2B1Q line code described in ANSI T1.601-1992 [1].

Unbundled 2-Wire or 4-Wire Digital HDSL-Qualified (2WDH or 4WDH) Loops

An unbundled loop that provides either a 2-wire or 4-wire channel that may be suitable for the transport of High-Bit-Rate Digital Subscriber Line signals between the Verizon central office distributing frame termination of collocated equipment belonging to a CLEC and the network interface device at a customer location. Two types of unbundled HDSL-Qualified  loops are offered: 2WDH or 4WDH. An unbundled 2WDH loop provides the CLEC with a channel that may be suitable for the transport of 784 kbps digital signals simultaneously in both directions. An unbundled 4WDH loop provides the CLEC with a channel that may be  suitable for the transport of 1.568 Mbps digital signals simultaneously in both directions. Unbundled 2WDH and 4WDH loops are intended for the transport of 2B1Q signals as described in Committee T1 Technical Report No. 28 [5].

Unbundled 4-Wire Digital DS1 (4WD1.5) Loop

An unbundled loop that provides a 4-wire channel that is suitable for the transport of 1.544 Mbps (DS1) digital signals in both directions simultaneously between the Verizon central office DSX-1 termination of collocated equipment belonging to an CLEC and the network interface device at a customer location. The unbundled 4WD1.5 loop may be provided using a variety of loop transmission technologies.

Unbundled 4-Wire Digital DS3 (4WDS3) Loop

An unbundled loop that provides a 4-wire channel that is suitable for the transport of 44.736 Mbps (DS3) digital signals in both directions simultaneously between the Verizon central office DSX-3 termination of collocated equipment belonging to an CLEC and the network interface device at a customer location. The unbundled 4WDS3 loop may be provided using a variety of loop transmission technologies.

Voicegrade (VG)

A term used to describe a channel, circuit, facility, or service that is suitable for the transmission of speech, digital or analog data, or facsimile, generally with a frequency range of about 300 to 3000 Hz.

B.	Acronyms

ADSL			Asymmetrical Digital Subscriber Line

AL			Acceptance Limit

AMI			Alternate Mark Inversion

ANSI			American National Standards Institute

BER			Bit Error Ratio

BRITE			Basic Rate ISDN Terminal Equipment

B8ZS			Bit Eight Zero Suppression

CPE			Customer Premises Equipment

CAP			Carrierless AM/PM

CO			Central Office

CODF			Central Office Distributing Frame

COT			Central Office Terminal

CSA			Carrier Serving Area

DLC			Digital Loop Carrier

DMT			Discrete Multi-Tone

DSX-1			Digital Signal Cross-Connect Level One

DS0			Digital Signal Level Zero

DS1			Digital Signal Level One

DVM			Data-Voice Multiplexer

EFS			Error-Free Seconds

ESF			Extended Superframe Format

EU			End-User

HDSL			High-Bit-Rate Digital Subscriber Line

IAL			Immediate Action Limit

ISDN			Integrated Services Digital Network

LAN			Local Area Network

LT			Line Terminating

NC			Network Channel

NCI			Network Channel Interface

NID			Network Interface Device

NT			Network Terminating

CLEC			Other Telephone Company

PI			Power Influence

POT			Point of Termination

POTS			Plain Ordinary Telephone Service

RDP			Rate Demarcation Point

RRD			Revised Resistance Design

RT			Remote Terminal

SES			Severely Errored Second

SF			Superframe Format

USOC			Universal Service Order Code

VF			Voice Frequency

VG			Voicegrade

VZ			Verizon

2B1Q			Two-Bit One-Quaternary

2WDA-R		ADSL Unbundled Loop Service - Revised Resistance Design - 18 kft max.

2WDA-C		ADSL Unbundled Loop Service - Revised Resistance Design - 12 kft max.

2WDH			Unbundled 2-Wire Digital HDSL-Qualified Loop

2WDI			Unbundled 2-Wire Digital ISDN-Qualified Loop

4WDH			Unbundled 4-Wire Digital HDSL-Qualified Loop

4WD1.5			Unbundled 4-Wire Digital DS1 Loop

7.	Bibliography

1-	ANSI T1.601-1992, American National Standard for Telecommunications - ISDN - Basic Access Interface for Use on Metallic Loops for Application at the Network Side of NT, Layer 1 Specification.

2-	Code of Federal Regulations, Title 47, FCC Rules and Regulations, Part 68, Connection of terminal equipment to the telephone network. Washington, DC: Federal Communications Commission.

3-	ANSI T1.403-1995, American National Standard for Telecommunications - Network-to-			Customer Installation - DS1 Metallic Interface.2

4-	ANSI T1.102-1993, American National Standard for Telecommunications - Digital Hierarchy 			- Electrical Interfaces.2

5-	Committee T1 - Telecommunications Report No. 28, A Technical Report on High-Bit-Rate 			Digital Subscriber Lines (HDSL), 1992.

6-	Generic Requirements GR-1089-CORE, Electromagnetic Compatibility and Electrical Safety - Generic Criteria for Network Telecommunications Equipment, Issue 1 Bellcore, December 1994.

7-	ANSI T1.413-1998, American National Standard for Telecommunications - Network and Customer Installation Interfaces - Asymmetric Digital Subscriber Line (ADSL) Metallic Interface.2

8-	T1E1/97-104R2, Draft Proposed American National Standard for Telecommunications - Rate-Adaptive Digital Subscriber Lines.

9-	ANSI T1.401-1993, American National Standard for Telecommunications - Interface 			Between Carriers and Customer Installations - Analog Voicegrade Switched Access Lines 			Using Loop-Start and Ground-Start Signaling. 2

10-	ANSI T1.404-1994, American National Standard for Telecommunications - Network-to-Customer Installation - DS3 Metallic Interface Specification.2

11-	Special Report SR-2275, Issue 3, Bellcore Notes on the Networks; Bellcore; December 1997. 4

12-	ANSI/IEEE 743-1995, Standard Methods and Equipment for Measuring the Transmission Characteristics of Analog Voice Frequency Circuits.2

13-	Special Report SR-STS-000307, NC/NCI Code Dictionary, Issue 8, Bellcore, April 1997.4

14-	Special Report SR-STS-000323, NC/NCI Compatibility Guide, Issue 4, Bellcore, May 			1994.4

15-	Verizon Network Services Reference Manual Series 72710 & NS6050.

16-	ANSI T1.107-1995, American National Standard for Telecommunications - Digital Hierarchy 			- Formats Specifications. 2

17-	Generic Requirements GR-63-CORE, Network Equipment-Building System (NEBS) Requirements: Physical Protection,  Issue 1, Bellcore, December 1995.4

18-	Technical Reference FR-NWT-000064, LATA Switching Systems Generic Requirements 			(LSSGR), Bellcore, 1994.4

NOTE: These documents are subject to change. References reflect the most current information available at the time of printing. Readers are advised to check the status and availability of all documents.

# Footnotes

While some of the entries in this table are “0”, it should be noted that an isolated error event is not necessarily indicative of a service affecting problem.

To obtain ANSI documents, contact American National Standards Institute, Inc., 1430 Broadway, New York, NY 10018.

Available from the Superintendent of Documents, U.S. Government Printing Office, Washington, DC 20402.

To obtain Bellcore documents, contact Bellcore Customer Service, 8 Corporate Place - PYA 3A-184, Piscataway, NJ 08854-4156. In the US and Canada, call 1-800-521-CORE. All others call 908-699-5800.

# Text boxes

# TR 72575, Issue 2