Partner Solutions

Collocation Application - Instructions

Prior to submitting an initial Collocation Application, the customer must initiate the account establishment process.  Please contact an Account Manager for details.

Please fill in all information as instructed below:

## The Application shall not be altered in any way.   Points of clarification or additional information should be noted in Section IX, Additional Comments/Notes.  Failure to provide all requested information and associated documentation may result in delays in the processing of the application.

Verizon East territory:

Delaware, District of Columbia, Massachusetts, Rhode Island, Connecticut, New Jersey, Maryland, Pennsylvania (Verizon Pennsylvania Inc. territory), Virginia (Verizon Virginia Inc. territory),  New York

# Customer Information

- Company:		Name of Company applying for Collocation

Street:		Address of Company including City, State, and ZIP

City

State & Zip

2.   Contact Name: 	Name of person to whom all information should be conveyed or questions addressed.

Title:	Title of Company contact

Telephone #:	Telephone # (with extension if appropriate) of Company contact

Fax #:		Fax # of Company contact

E-Mail Address:	E-Mail address of Company contact

- 24-Hour Emergency Telephone #: Enter the 24-hour emergency telephone number.

- ACNA:  Enter the Access Carrier Name Abbreviation (ACNA).  This is a three to four character code used to identify a telecommunications company.

- AECN:  Enter the Alternate Exchange Carrier Name Abbreviation (AECN).  This is a four character code used to identify a specific carrier.

- Billing Information:

Company Name:

Billing Manager Name: Enter the name of the person to whom all billing information should 				    be conveyed.

Telephone #:              Telephone # (with ext., if appropriate) of Billing Manager

Billing Address:           Include City, State, and ZIP.

# Desired Collocation Site

- Name of Central Office/Premise(s): Provide the name of the Central Office in which collocation is desired.

- Address: Provide the Central Office/Premise location, including street address, city, and state.

- CLLI Code: Provide the 8-character Central Office CLLI (Common Language Location Identifier) Code that identifies the wire center. If the request is an augment to an existing arrangement, the 11-character CLLI is required.

III.	Type of Collocation Requested

1.  New Collocation Arrangement  – This section should be completed for all requests for new collocation arrangements.  In ordering collocation, please indicate the order of preference for the type(s) of collocation arrangements the applicant is willing to consider. In addition, list the applicable tariff code (outlined in Appendix B) as well as your desired and minimally acceptable requirements for each option.  Verizon will offer the applicant the minimally acceptable requirement on a first preference basis before considering the next preference.  Please see example below.  For all choices, please include the number of terminations required.  A certificate of insurance must be provided for all new arrangements.

In the example given below, if Verizon had 50 SF available for traditional collocation, this would be offered to the requesting CLEC before offering SCOPE.

A.  Requested Arrangement Type

| Type of Collocation Requested | Tariff Code (Appendix B) | Order of Preference | Requirements | Desired | Min |
| --- | --- | --- | --- | --- | --- |
| Traditional Physical | **Inter (FCC) |  |  | Minimum of 100 Square Feet |  |  |
|  | Intra (State) | NY PSC8 | 1 | Minimum of 25 Square Feet | 100 S.F. | 50 S.F. |
| Virtual Collocation | Inter (FCC) |  |  | Number of ¼ Relay Racks/Bays |  |  |
|  | Intra (State) | NY PSC8 | 4 | Number of ¼ Relay Racks/Bays | 5 | 3 |
| *SCOPE (Secured Collocation Open Physical Environment) | NY PSC8 | 2 | Number of Relay Racks/Bays | 5 | 3 |
| *CCOE (Cageless Collocation Open Environment) | NY PSC8 | 3 | Number of Relay Racks/Bays | 5 | 3 |
| Shared Caged/Sub-leased |  |  |  |  |  |

*	These options are only available to CLECs in the Verizon East territory (refer to Appendix B for a list of applicable states).

The following section describes the types of arrangements that can be ordered on this application.  Please refer to the Verizon web site for additional information.

The following is a description of each type of collocation.

- Traditional Physical/Physical: Traditional Physical Collocation space is ordered in increments of square footage. In the Verizon East territory, Traditional Physical space may be enclosed with wire mesh and a locking door.

-  CCOE:  Verizon East territory only - Cageless Collocation Open Environment - A form of Physical Collocation that allows CLECs to place equipment in Verizon conditioned space.  Please indicate the total number of bays the equipment requires.  In addition

to the information requested in section VI, the following information is required for CCOE:

- Block diagram/schematic of equipment layout

- Bay/relay rack dimensions (height, width, depth)

- Fuse panel assignment table

-  Virtual:  CLEC provided, Verizon maintained equipment, which is dedicated to CLEC use.  Please indicate the total number of bays the equipment requires. If the equipment to be installed is not part of the normal Verizon inventory, it is the CLEC’s

responsibility for providing test equipment and appropriate manuals.

The ¼ Relay Rack in the Virtual Interstate jurisdiction only applies to the former Verizon East Territory.

List this information on Appendix A of the application.  In addition to the completion of this form, please provide the following:

- Block diagram/schematic of the equipment layout.

- Bay/relay rack dimensions if being provided by CLEC - if your Company will be providing the bays, please indicate if the equipment will be delivered pre-installed in the bays.

- Outline specification that includes a wiring list.

- A front equipment drawing that shows where plug-ins are to be installed.

- A list of spare plug-ins that will be provided.

-   SCOPE:   Verizon East territory only - Secured Collocation Open Physical    Environment –

A form of Physical Collocation that provides collocators with the option of placing

equipment in a segregated area of a Verizon central office in single bay   increments. Please indicate the total number of bays the equipment requires. In addition to the information requested in section VI, the following information is required for SCOPE:

- Block diagram/schematic of equipment layout

- Bay/relay rack dimensions (height, width, depth)

- Fuse panel assignment table

- Shared/Sub-leased Caged:  A caged collocation space shared by two or more    CLECs pursuant to the terms and conditions agreed to between the CLECs.

B.   Point of Termination (POT) Bay Verizon East territory only:

1.  Traditional Physical

If the applicant is applying for Traditional Physical collocation (regardless of preference    order) for the states of PA, DE, DC, NJ, VA, MD, MA, NY, CT, RI, please select one of the following options:

##### Option 1 - Verizon provides POT Bay and installs in the common area

Option 2- CLEC provides POT Bay and Verizon installs in the common area

Option 3- CLEC provides and installs the POT Bay in the cage

2.   CCOE: Verizon East territory only

If the applicant is applying for CCOE anywhere in the Verizon East territory, please select   one of the following options:

##### Option A - Verizon provides and installs Shared Point of Termination (SPOT) Bay

Option B - CLEC provides and installs termination panels within the CCOE    arrangement*

*Option B requires coordinated detailed engineering between Verizon and the

CLEC.  Please attach a diagram detailing where the panels will be located within the specific relay rack/bay, each panel’s assigned number (i.e.: Panel #0001, panel #0002, etc.) and type/make of termination panels with the quantity and type of connections/terminations (i.e. punch down or amphenol) that the panels require.

C.   Traditional Physical, Cage Construction:  Verizon East territory only

###### For applicants ordering traditional physical out of the States of in PA, DE, DC, NJ, VA, MD, MA, NY, CT, RI.

Verizon no longer constructs the wire mesh enclosure/cage under the State Tariffs.  Please indicate the type of cage being constructed and provide the name of the CLEC vendor for cage construction in section VIII.

[  ]  Standard Cage		   A wire mesh enclosure with a height of 8’ and no top

[  ]  Non-Standard Cage (with top)	   A wire mesh enclosure with a height of 8’ with top

[  ]  Cage will not be constructed 	   No wire mesh enclosure

The Verizon Real Estate CLEC Cage Construction Standards can be found on the Partner Solutions Collocation Web site under “Equipment, Real Estate & Installation Requirements.”

D.   Virtual – for initial

If applying for Virtual in CT, DC, DE, MD, NJ, NY, PA (East), VA (East), the applicant has the option of hiring a Verizon approved installation vendor for the equipment. Please indicate if Verizon is to install the equipment by checking “yes” or “no.” If “no” is indicated, specify the Verizon approved “Equipment Installation Vendor” in section VIII.

E.   Shared/Subleased Physical or Caged:

At the time of ordering, the applicant must specify the percentage of the shared/subleased collocation space allocated to each of the guest CLECs in the shared/subleased arrangement.  See the applicable tariff/interconnection agreement for billing information.

List the names of all CLECs sharing this space, indicating the percentage of space being allocated per CLEC. An example follows:

Guest CLEC 1 Name  __________Company A    Allocated % ___ 35

Guest CLEC 2 Name  __________Company B    Allocated % ___ 35

Based on this example, 30% of the collocation space is allocated to the applicant (Host CLEC).

### Augment to an Existing Arrangement – This section is used to request an augment to an existing collocation arrangement.

### Type of Existing Arrangement  – Indicate the type of arrangement that is being augmented (For the East: Physical, Virtual, SCOPE, CCOE.

Note:  Augments submitted for all Virtual arrangements and CCOE arrangements when termination panels (Option B) are provided must have a diagram attached.

- Augment Type– Indicate the type(s) of augments required.  Be sure to check all that apply. Note:  Augments submitted for all Virtual arrangements where termination panels are provided must have a diagram attached.  Augments submitted for any CCOE arrangement where termination panels are provided by the CLEC must have a diagram attached.

The following are the types of augments available:

[  ]	Cable Terminations for DS3, DS1, VF/DS0, xDSL, VG (2W, 4W), Fiber ( Used to add cable terminations to the arrangement. Complete section IV.

[  ]	Power ( Used to add DC power to an existing arrangement. Complete

section V.

[  ]	Connection to CATT ( Used to request connection between the existing  collocation arrangement and a CATT (Competitive Alternate Transport Terminal). Complete sections VII and VIII.

[  ] 	Pulling in additional fiber facilities ( Used when additional fiber needs to be run from Manhole “0” to the existing collocation arrangement. Complete sections VII and VIII.

[  ] 	Addition/Change of Equipment ( Used when adding or changing equipment in an existing arrangement.  Check any other appropriate boxes associated with this augment request. Complete sections VIII and Appendix A.  For Virtual, also complete section C below.

[  ] 	Space ( Used when requesting an expansion of an existing arrangement.  Indicate the amount of square feet or number of relay racks/bays desired.  For number of relay racks/bays, please complete section VI.  Verizon will make reasonable efforts to accommodate a request for contiguous space. In the event that contiguous space is not available, please indicate if non-contiguous space is acceptable.

[  ]	Cable Terminations for Line Share ( Used to add line share terminations to the arrangement. Complete section IV.

[  ]	Software upgrade to a virtual arrangement ( Used when upgrading existing software to a Virtual arrangement; done on a per shelf basis. Complete section VI.

[  ]	Plug-in upgrade to a Virtual arrangement - Cabling Required ( Used when requesting plug-ins upgrade to an existing Virtual arrangement. Check the cable

and/or line share termination box(s) above and in addition complete section IV and Appendix A of the application.

[  ]	Plug-in upgrade to a Virtual arrangement – No Cabling Required ( Used when requesting plug-ins upgrade to an existing Virtual arrangement. Complete Appendix A of the application.

[  ]	Interconnect via microwave ( Used when installing a microwave arrangement to interconnect with Verizon facilities. Complete sections V, VI, VII, and VIII.

[  ]	Shared/Subleased Space.

- For Virtual Equipment Augments, please indicate if Verizon will perform the    installation.   If the Virtual request is for CT, DC, DE, MD, NJ, NY, PA (East), VA (East),  the applicant has the option of installing the equipment A designation must be made as to whether Verizon or a vendor working for the CLEC will perform the installation.  If a CLEC vendor is to be used, Section VIII of the application must be completed.

- Specify Initial Arrangement Tariff Code or ICA:

- Specify the Tariff Code (if applicable) under which you are applying (as listed in Appendix B of the instructions).  The Tariff Code specified should be the code of the tariff under which you currently subscribe for the initial arrangement.  (For instance, if you originally subscribed to the initial arrangement under one tariff and the arrangement was then terminated as an arrangement under that tariff and reestablished as an arrangement subscribed to under another tariff, the code for the currently applicable tariff should be specified.)  The tariff must be the same as the tariff for the existing arrangement when adding Voice Grades to an existing Federal arrangement in the Verizon East territory or Line Sharing to an existing Federal arrangement anywhere in Verizon.

### Changes made to an application

### *Note:  Corrections.  Changes to a pending application that are received by Verizon prior to the start date of the application are considered “Corrections.”  Please refer to them as such in the body of the submission email.

### Revisions.  Changes to a pending application that are received by Verizon on or within five (5) business days after the start date of the application are considered “Revisions.”  Please refer to them as such in the body of the submission email.

### Reason for Change:  Describe the reason for changing your previously submitted application.

### Changes to a pending application that are received more than five (5) business days after the start date for the application must be approved by Verizon.  If changes are not approved, the CLEC must submit an augment application and the appropriate augment fee, or cancel the application and submit a new application.

Always include the Verizon Application ID# and/or the Control # of the original application on both Correction and Revision requests.

- Certificate of Insurance

A Certificate of Insurance must be provided for all new sites prior to occupancy. Please indicate whether or not you are providing the Insurance Certificate.  If the Certificate is attached or has been provided previously, provide its expiration date.  If the Certificate is not being provided with this application, please provide the date on which it will be submitted.

IV.       Type of Termination, Request, and Cables to be Provisioned

Please indicate the quantity for each of the service/termination types for every collocation arrangement that the applicant has requested in Section III.  If the request is for an augment, indicate the quantity of terminations requested for the existing arrangement type. Terminations to be cabled are those that will be run between the demarcation point/virtual equipment and the Verizon distributing frames to support the equipment being installed with this application.  Please provide the minimum and maximum quantity desired for each termination.

For the Verizon East territory, certain tariffs and products have minimum ordering increments and will be cabled and billed accordingly.  (Please refer to Appendix C attached.)

If ordering Line Sharing, complete Section IV, # 3. – Line Sharing

1.	The table below is associated with Traditional Physical; SCOPE and CCOE, when Verizon provides the POT or SPOT Bay, and Verizon installed Virtual collocation.

| Type of Termination | Physical | SCOPE -Verizon Provided POT or SPOT BAY | CCOE -Verizon Provided POT or SPOT BAY | Verizon Installed Virtual |
| --- | --- | --- | --- | --- |
|  | Desired | Minimum Amount Acceptable | Desired | Minimum Amount Acceptable | Desired | Minimum Amount Acceptable | Desired | Minimum Amount Acceptable |
| DS3 |  |  |  |  |  |  |  |  |
| DS1 |  |  |  |  |  |  |  |  |
| DSO/VF |  |  |  |  |  |  |  |  |
| VG- 2W |  |  |  |  |  |  |  |  |
| VG-4W |  |  |  |  |  |  |  |  |
| *Line Sharing/Splitters |  |  |  |  |  |  |  |  |
| Fiber Cable Terminations |  |  |  |  |  |  |  |  |
| # BITS Timing Cabling | DSI -Superframe (SF) |  |  |  |  |  |  |  |  |
|  | DSI -Extended Superframe (ESF) |  |  |  |  |  |  |  |  |
|  | Composite |  |  |  |  |  |  |  |  |

*    Quantity of Line Sharing terminations should be equal to the quantity of DSL subscribers to be served by the CLEC.   In order to request this product, CLEC must be eligible to order Line Sharing from Verizon and Verizon must be obligated to provide Line Sharing to CLEC.    Refer to Section IV.3 – Line Sharing and the Note at the end of these Instructions.

2.	This table pertains to CLEC installed CCOE with CLEC provided POT Bay, or Virtual racked and stacked.

| Type of Termination | CCOE with CLEC provided POT Bay, or Virtual (if racked & stacked) |
| --- | --- |
|  | Bay 1 | Bay 2 | Bay 3 | Bay 4 | Bay 5 |
|  | Desired | Min Accept-able | Desired | Min Accept-able | Desired | Min Accept-able | Desired | Min Accept-able | Desired | Min Accept-able |
| DS3 |  |  |  |  |  |  |  |  |  |  |
| DS1 |  |  |  |  |  |  |  |  |  |  |
| VF/VG-2W |  |  |  |  |  |  |  |  |  |  |
| VG-4W |  |  |  |  |  |  |  |  |  |  |
| *Line Sharing/ Splitters |  |  |  |  |  |  |  |  |  |  |
| Fiber Cable Terminations |  |  |  |  |  |  |  |  |  |  |
| # BITS Timing Cabling | **DSI -Superframe (SF) |  |  |  |  |  |  |  |  |  |  |
|  | DSI - Extended Superframe (ESF) |  |  |  |  |  |  |  |  |  |  |
|  | Composite |  |  |  |  |  |  |  |  |  |  |

*		Quantity of Line Sharing terminations should be equal to the quantity of DSL subscribers to be served by the CLEC.   In order to request this product, CLEC must be eligible to order Line Sharing from Verizon and Verizon must be obligated to provide Line Sharing to CLEC.  Refer to Section IV.3 – Line Sharing and the Note at the end of these Instructions.

Please round up to the nearest ordering increment when indicating the number of terminations to be cabled.  For example, if you are requesting 40 DS1s where there is an ordering increment of 28, you must input 56 on the chart in section IV.  If you input 40 Verizon will round to the nearest ordering increment, in this case 56, and will cable and bill accordingly.

Line sharing requires 2 cable pairs to be provisioned for each Line Sharing termination order.  Thus, Verizon will run and bill 2 cable pairs for each line share termination ordered in this section of the application.  For example, if you order 100 Line Sharing terminations, Verizon will provision and bill for 200 pairs.

** The DS1 BITS signal from the TSG to the collocation arrangement will support the Superframe (SF) format and, where available, may support Extended Superframe (ESF) format where available.

Applicants in the Verizon East territory requiring BITS Timing must indicate the quantity of timing leads for either DS1 Timing or Composite Clock Timing.  The DS1 Timing may be requested in either Superframe (SF) or Extended Superframe (ESF) format on the application.  In the event that ESF is not available Verizon will provide Superframe format.

.

3.  Line Sharing:  Please indicate the option you will be using to deploy line sharing:

Option A – CLEC provides splitters in its arrangement.

Option C – CLEC provided splitter shelf is installed in a Verizon provided bay, in Verizon  space.

If selecting Option C, indicate if Verizon or the CLEC will be installing the splitter shelf.  If the CLEC installs the splitter shelf, it will be responsible for installing cable to POT Bay and cable to the MDF POTS terminals of the line share blocks. In addition, provide the Verizon approved Equipment Installation Vendor Name in section VIII.

When Option C is selected, the CLEC can install the splitter/filters in the following jurisdictions: CT, DC, DE, MD, NJ, NY, PA (East), VA (East).

Requests for all Line Share terminations should be equivalent to the number of splitters to be installed.  Please ensure that the number of Line Share terminations requested is populated in section IV.1.

Note:  New Line Sharing services are available only to CLECs who have entered into a commercial agreement with Verizon for Line Sharing services.

- DC Power Requirements – Initial applications and augments increasing power to an existing arrangement.

    - General Instructions

Please indicate your requirements for –48V Battery & Ground. Provide the total number of “A” feeds and/or the total number of “B” feeds for each type of collocation request. Indicate the requested drain/load per feed and the fuse size per feed.  Where applicable, include cable ampacity and cable designation information as well.

The CLEC is responsible for determining the anticipated power consumption of the collocation arrangement and is responsible for taking into consideration any special circumstances in determining drain/load and fuse size of each feed.

Fused capacity shall not exceed 2.5 times the CLEC specified load per feed, except in NY & CT where the CLEC can request fused capacity not to exceed 4 times the CLEC specified load per feed.  The total drain/load per feed must be expressed in whole numbers and not fractions.

Additionally, the fused capacity must be expressed in industry standard fuse sizes as indicated in the following tables:

Industry Standard Fuses at BDFB*

| Amp Rating | 3 | 5 | 6 | 10 | 15 | 20 | 25 | 30 | 40 | 50 | 60 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

*Some BDFBs have fusing available at 70 amps.  Verizon will entertain any 70 amps fuse requests.  In offices where 70 amps are not available on the BDFB, Verizon will go to the MPB with assistance from the VZ Power Engineer.  Additional costs associated with utilizing the MPB will apply.

| Industry Standard Fuses at Main Power Board |
| --- |
| Amp Rating | 100 | 110 | 125 | 150 | 175 | 200 | 225 | 300 | 400 | 500 |  |  |

When ordering multiple power feeds, please indicate each feed’s requirements separately.  Verizon anticipates the customer will properly engineer fuse capacity and must consider any special circumstances in determining drain/load and fuse size of each feed.

Due to the fact that fuses come in industry standard sizing, fusing at 2.5 times drain/load (4 times drain/load in NY & CT) may not be possible in all cases based on the CLEC specified drain/load.  In those situations, the CLEC must determine whether to choose a fuse sizing that is less than 2.5 times drain/load (4 times drain/load in NY & CT) or increase the load in order to conform to the industry fuse sizes.  The manufacturer’s specifications should be consulted to determine power requirements.

A CLEC can order just an “A’ feed, and then at a later date submit an augment to place a “B” feed due to a change in its requirements.

2.  DC POWER REQUIREMENTS – AUGMENTING POWER

In section A. # 2, the CLEC must indicate the type of work to be performed.  Please check whether the CLEC is requesting a new feed, a change to an existing feed or the replacement of an existing feed with a feed of greater capacity .   The CLEC must check all the applicable boxes indicating: Disposition Code: N for a new feed, Disposition Code: C for Load/drain increase to existing feed, fuse increase on an existing feed and Disposition Code: T for terminating a feed that is being replaced by an N coded larger ampacity feed.  Requests to decrease either fuse or load requirements on an existing feed must be submitted via a Notice of Termination/Reduction application.

The CLEC may be required to participate in a joint coordination/site visit to identify applicable power feeds. Verizon must approve any/all drain/load or fusing changes to existing power cables. Please note all applicable tariff rates and augment intervals will apply for an increase in drain size.

2.  Detailed Power Requirements.  The following must be completed detailing all the power requirements whether new or changed to an existing arrangement.   Example:

|  |  | a. | b. | a. | b. | a. | c. | b. | b. | b. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| For Traditional Physical, Virtual, CCOE or Virtual Racked & Stacked |
| Power Configuration | Feed | *Disposition | Drain/Load Existing | Drain/Load Requested | Amps Fused Existing | Amp Fused Requested | *Cable Ampacity | Feed Designation | Bay Designation |
|  |  |  |  |  |  |  |  | BDFB/MPB/RR Designation | Panel Designation | Fuse Assignment |  |
| 1 | A | N |  | 20 |  | 50 |  |  |  |  |  |
|  | B | N |  | 20 |  | 50 |  |  |  |  |  |
| 2 | A | C | 5 | 10 | 10 | 15 | 30 | 101.2 | A1 | 4 |  |
|  | B | C | 5 | 10 | 10 | 15 | 30 | 101.2 | B1 | 4 |  |
| 3 | A | N |  | 10 |  | 40 | 60 |  |  |  |  |
|  | B | N |  | 10 |  | 40 | 60 |  |  |  |  |
| 4 | A | N |  | 20 |  | 40 |  |  |  |  |  |
|  | B | N |  | 20 |  | 40 |  |  |  |  |  |
| 5 | A | T | 10 | 0 | 20 | 0 |  | 103.1 | A2 | 5 |  |
|  | B | T | 10 | 0 | 20 | 0 |  | 103.1 | B2 | 5 |  |

- Required for all power augments

Column Title:

*Disposition  - please indicate “N” for New Feed; “C” for a Change to an existing feed with a larger capacity feed in drain; “T” for terminating a power feed that will be replaced by an N coded, larger ampacity feed; “NC” for no change.

Drain/Load Requested

Amps Fused Requested

- Required for increases to existing feeds (feed designation information not required if CLEC increasing load only.).

Column Title:

Drain/Load Existing

Amps Fused Existing

BDFB/MPB/RR Designation

Panel Designation

Fuse Assignment

- Applies where CLEC requesting a fuse increase on a existing feed (NY&CT only) or to increase fuse size on existing cables ordered with larger *ampacity rating (NY& CT only) where existing cable has the capacity to handle the requested fuse size in accordance with Verizon Engineering Standards.

Column Title:

*Cable Ampacity (Ultimate load capacity for a given feed)

The manufacturer’s specifications should be consulted to determine power requirements.

Example:

- Power Configuration 1: CLEC REQUESTING NEW FEED.  The customer requires 1  “A” feed, with 20 amps load feed fused at 50 amps; and 1 “B” feed, with 20 amps load feed fused at 50 amps

- Power Configuration 2: The customer is requesting to change existing A & B feeds from 5 amps load, 10 amps fused to 10 amps load, 15 amps fused.  Disposition designation “C” because existing feed can accommodate increase of power requirements.   Increase in fuse requirement on an existing feed requires feed designation information.  In this example, the existing cable has an ampacity of 30 amps.  Note, if it is determined that the existing cable cannot accommodate the requested fuse size, the CLEC will be required to revise the request to ask for a new feed and terminate the existing, insufficiently-sized feed.   This would require the installation of a new cable, removal of an old cable and coordination with the CLEC to power down and up its equipment.

- Power Configuration 3: For NY & CT only, CLEC requesting a new power feed with a larger ampacity cable rating.  CLEC requests A & B feeds at 10 amps load, 40 amps fused and request the feed to be sized for an ampacity rating of 60

- Power Configuration 4:  CLEC requesting new A & B feeds of 20 amps load and 40 amps fused to replace existing feeds.  (see configuration 5)

- Power Configuration 5:  CLEC terminating existing A & B feeds of 10 amps load, 20 amps fused to be replaced by larger capacity feeds. (see configuration 4).  Termination of feed requires feed designation information and must be accompanied by a new feed request if included on an augment application.

Power configurations must be designated by the correct Bay for SCOPE, Cageless, CCOE or Virtual Racked & Stacked.  For Physical and Virtual (if not racked and stacked) if more than 3 power feeds are required subsequent bay sections must be used.

VI.  Technical Equipment Specifications - All of this information must be detailed on Appendix A.

- Provide a list of the equipment and framework (bays).  Include the Quantity, Manufacturer/Model #, Equipment Nomenclature, Dimensions – HxWxD, Equipment Weight, Equipment BTUs (Ultimate Heat Release), Manufacturer’s specified drain in Amps for –48V DC, Common Language Equipment Identifier (CLEI). Also include the total amount of drain/load rounded up to the nearest amp for the equipment listed on the application.

Bays should be included as separate pieces of equipment.  If this is an augment, please include existing and newly requested equipment in the amps calculation.  Appendix A must be completed for each shelf type, system type, bay structure type and cabinet type.

- Network Equipment Building System (NEBS) Conformance Requirements

The applicant must execute the “NEBS Compliance Certification” set out in this section for all equipment (whether active or passive) to be installed in connection with the collocation arrangements covered by the application, except for equipment included in Verizon’s published list of equipment that is eligible for use in Verizon central offices.  This list is available at:

http://www22.verizon.com/wholesale/local/collocation/portal/1,20615,c_equipment,00.html

Only equipment which is exactly as listed in Verizon’s published list of equipment that is eligible for use in Verizon central offices is excluded from the certification requirement.

Equipment requiring certification may not be installed until the NEBS Compliance Certification is submitted for that equipment.

The Verizon Telecommunications Carrier NEBS Compliance Checklist is available at http://www22.verizon.com/wholesale/local/collocation/portal/1,20615,c_equipment,00.html

The ANSI and Telcordia Generic NEBS Requirements, NEBS GR-63 (GR-63 NEBSTM Requirements:  Physical Protection) and NEBS GR-1089 (GR-1089, Electromagnetic Compatibility and Electrical Safey – Generic Criteria for Network Telecommunications Equipment) are available from Telcordia.

# VII.  Entrance Facility Information:

Note:  The Entrance Fiber Facility portion of this project will be managed outside the collocation interval.

1.  Please indicate the transport option the applicant intends to use.

Check the appropriate method.

[   ]	Check this box if leasing facilities from Verizon.

[   ]	Check this box if leasing fiber from a CATT (Competitive Alternate Transport Terminal) arrangement.  Provide the name of the CATT provider and 11 character CLLI Code of the 3rd party and attach a Letter of Agency (LOA) from the provider.   Complete sections 3 and 4 below.

[   ]	Check this box if CLEC is pulling in fiber facilities via Manhole “0” ( If you have checked this method, please complete items 2-4 of this section.

[   ]	Microwave ( contact your Collocation Project Manager for details on rooftop leasing for microwave and skip to Section VIII.

2.  Cable Information:

- Indicate the desired direction from where cable will originate or the desired “0” Manhole  location(s).

B.    Has the right of way or Licensing.  The CLEC must have established Right of Way/Licensing Agreements and provide the following information:  Contract Number, Manhole “0” Number(s), Manhole “0” License Application and the date fiber will be placed in Manhole “0”.

C.    Indicate if Diverse Route Entry is being requested (where available). Check Yes or No.

3.  Cable Requirements:

A.    Indicate the number of cables to be placed in both the Feeder and Riser.

B.    Indicate the diameter of the cables required for both the Feeder and Riser.

C.    Indicate the number of fibers (i.e. 12, 24, etc.) required per cable for both the Feeder and Riser.

4.  Cable Characteristics

A.   Enter the Cable Designation and Count.

B.   Name of Fiber Manufacturer.

C.   Type of Single Mode Fiber Used.

D.   Loss Decibels per Kilometer.

VIII.	Customer’s Vendor Selection:

- Enter the Company Name, Address, and Telephone Number of the Engineering Vendor.

- Enter the Company Name, Address, and Telephone Number of the Outside Plant Vendor

that will be used for cable placement.

- Enter the Company Name, Address, and Telephone Number of the Outside Plant Vendor that will be used for cable splicing.

- 4.    Enter the Company Name, Address, and Telephone Number for the Equipment Installation

Vendor.

5.   Enter the Company Name, Address, and Telephone Number of the Installation Vendor that

will be used for riser cable.

- Enter the Company Name, Address, and Telephone Number of the Vendor that will be used for Cage Construction.

Note:  The CLEC is required to use a Verizon approved vendor, or a Verizon authorized vendor, to do work anywhere in the central office.

IX.	Additional Comments/Notes:

This field is to be populated with additional information that the applicant would like to convey to Verizon.

X.	Loop Special Billing Number (SBN) Requirements:  Verizon East Territory only

For collocation in CT, NY, MA, NY, and RI, please complete the Special Bill Number Request section of the Collocation application.  Providing this information will permit the appropriate SBNs to be established for this collocation arrangement.

Note:  Special Circumstances:

If an application is being used to submit a Transfer of Ownership transaction, the buying CLEC is responsible for completion of the application and must include the location of the central office, the CLLI code, and the type of Collocation arrangement involved.

Transfer of Ownership transactions will be managed outside the collocation intervals.

________________________________________________________________________

Submission of the application and all supporting documentation must be performed electronically using the link below.  The application fee shall be mailed to:

Collocation Manager

Verizon Communications

385 Myles Standish Blvd

Taunton, MA 02780

E-Mail Address:  Collocation.applications@verizon.com

Note:  The Application and these Instructions may reference services, facilities, arrangements and the like that Verizon does not have an obligation to provide to a CLEC under Verizon’s agreements with such CLEC (including Verizon’s tariffs, interconnection agreement with the CLEC and commercial service agreements with the CLEC).  Notwithstanding any such references, nothing in the Application or these Instructions shall be deemed to require Verizon to provide to a CLEC a service, facility, arrangement or the like that Verizon does not have an obligation to provide under Verizon’s agreements with that CLEC, or to provide to a CLEC a service, facility, arrangement or the like upon rates, terms or conditions other than those required by Verizon’s agreements with the CLEC.

Appendix A: List of Plug-Ins (Cards)

Appendix A of the Collocation application - List all types of plug-ins that will be used for each shelf/system. Use a separate sheet for each different shelf/system. Provide the contact name, telephone number, fax number, and email address for questions related to this information.

# APPENDIX B

| VERIZON COLLOCATION TARIFFS * | Tariff Code for the Application | PRODUCTS OFFERED |
| --- | --- | --- |
| FEDERAL TARIFFS |  |  |
| FCC 1EA1 (DC, DE, MD, NJ, PA, VA) | FCC 1 | Virtual, CATT |
| FCC 1EA11 (CT, MA, NY, RI) | FCC 11 | Virtual, CATT |
| STATE TARIFFS (VERIZON EAST) |  |  |
| Connecticut – DPUC CT No. 11 | CT 11 | Traditional Physical, Virtual, SCOPE, CCOE |
| Delaware – DEIETC0 Collocation Schedule | DEIETCO | Traditional Physical, Virtual, SCOPE, CCOE |
| Maryland - PSC MDIEA218 | MD PSC 218 | Traditional Physical, Virtual, SCOPE, CCOE |
| Massachusetts – MAIEO17 | MA DTE 17 | Traditional Physical, Virtual, SCOPE, CCOE |
| New Jersey – NJIEA4 | NJ BPU 4 | Traditional Physical, Virtual, SCOPE, CCOE |
| New York – NYIEAA8 | NY PSC 8 | Traditional Physical, Virtual, SCOPE, CCOE |
| Pennsylvania – PAIEA218 | PA PUC 218 | Traditional Physical, Virtual, SCOPE, CCOE |
| Rhode Island – RIIEO18 | RI PUC 18 | Traditional Physical, Virtual, SCOPE, CCOE |
| Virginia – VAIEA218 | VA SCC 218 | Traditional Physical, Virtual, SCOPE, CCOE |
| Washington, DCIEA218 | DC PSC 218 | Traditional Physical, Virtual, SCOPE, CCOE |

# * Note – Please check with the appropriate Commission to verify if a specific tariff is in effect.

APPENDIX C

Ordering Increments for Cable Terminations

| PRODUCT | TYPE | FCC 1 ORDERING INCREMENTS | FCC 11 ORDERING INCREMENTS | New York PSC NY No.8 ORDERING INCREMENTS | Connecticut CT No. 11 ORDERING INCREMENTS |
| --- | --- | --- | --- | --- | --- |
| Traditional Physical | DS3 | N/A | N/A | 1 | 1 |
|  | DS1 | N/A | N/A | 28 | 28 |
|  | 2W VG | N/A | N/A | 100 | 100 |
|  | LS** | N/A | N/A | 100 | 100 |
|  | 4W VG | N/A | N/A | 50 | 50 |
|  | FIBER* | N/A | N/A | 12 | 12 |
| Virtual Verizon Installs | DS3 | 1 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 | 28 |
|  | 2W VG | # State Tariff | # State Tariff | 100 | 100 |
|  | LS** | # State Tariff | # State Tariff | 100 | 100 |
|  | 4W VG | # State Tariff | # State Tariff | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 | 12 |
| Virtual CLEC Installs (Not Available in MA, ME, NH, RI or VT) | DS3 | 1 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 | 28 |
|  | 2W VG | # State Tariff | # State Tariff | 100 | 100 |
|  | LS** | # State Tariff | # State Tariff | 100 | 100 |
|  | 4W VG | # State Tariff | # State Tariff | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 | 12 |
| SCOPE | DS3 | N/A | N/A | 1 | 1 |
|  | DS1 | N/A | N/A | 28 | 28 |
|  | 2W VG | N/A | N/A | 100 | 100 |
|  | LS** | N/A | N/A | 100 | 100 |
|  | 4W VG | N/A | N/A | 50 | 50 |
|  | FIBER* | N/A | N/A | 12 | 12 |
| CCOE with Verizon provided SPOT Bay | DS3 | N/A | N/A | 1 | 1 |
|  | DS1 | N/A | N/A | 28 | 28 |
|  | 2W VG | N/A | N/A | 100 | 100 |
|  | LS** | N/A | N/A | 100 | 100 |
|  | 4W VG | N/A | N/A | 50 | 50 |
|  | FIBER* | N/A | N/A | 12 | 12 |
| CCOE with CLEC provided Demarc | DS3 | N/A | N/A | 1 | 1 |
|  | DS1 | N/A | N/A | 28 | 28 |
|  | 2W VG | N/A | N/A | 100 | 100 |
|  | LS** | N/A | N/A | 100 | 100 |
|  | 4W VG | N/A | N/A | 50 | 50 |
|  | FIBER* | N/A | N/A | 12 | 12 |

N/A = Not Available

* 2 fibers = 1 transmit and 1 receive

** 100 LS = Splitters/Customer Served

# Voice Grade service is not offered under tariff, and refer to the appropriate state tariff for voice grade cable terminations.

## See tariff for minimum ordering augment intervals.

Note:	When completing Section IV – TYPE OF TERMINATION, REQUEST, AND CABLES TO BE PROVISIONED – please be sure to round up to the nearest ordering increment when indicating the number of terminations to be cabled.  For example, if you are requesting 40 DS1s under a tariff where there is an ordering increment of 28, you must input 56 on the chart in section IV. If you input 40, Verizon will round to the nearest ordering increment, in this case 56, and will cable and bill accordingly.

APPENDIX C

#### Ordering Increments for Cable Terminations

| PRODUCT | TYPE | Massachusetts MA DTE 17 ORDERING INCREMENTS | Rhode Island PUC RI No.18 ORDERING INCREMENTS |
| --- | --- | --- | --- |
| Traditional Physical | DS3 | 1 | 1*** |
|  | DS1 | 28 | 28*** |
|  | 2W VG | 100 | 100*** |
|  | LS** | 100 | 100*** |
|  | 4W VG | 50 | 50*** |
|  | FIBER* | 12 | 12*** |
| Virtual Verizon Installs | DS3 | 1 | 1 |
|  | DS1 | 28 | 28 |
|  | 2W VG | 100 | 100 |
|  | LS** | 100 | 100 |
|  | 4W VG | 50 | 50 |
|  | FIBER* | 12 | 2 |
| Virtual CLEC Installs (Not Available in MA, RI) | DS3 | N/A | N/A |
|  | DS1 | N/A | N/A |
|  | 2W VG | N/A | N/A |
|  | LS** | N/A | N/A |
|  | 4W VG | N/A | N/A |
|  | FIBER* | N/A | N/A |
| SCOPE | DS3 | 1 | 1 |
|  | DS1 | 28 | 28 |
|  | 2W VG | 100 | 200 |
|  | LS** | 100 | 100 |
|  | 4W VG | 50 | 100 |
|  | FIBER* | 12 | 12 |
| CCOE with Verizon provided SPOT Bay | DS3 | 1 | 1 |
|  | DS1 | 28 | 28 |
|  | 2W VG | 100 | 200 |
|  | LS** | 100 | 100 |
|  | 4W VG | 50 | 100 |
|  | FIBER* | 12 | 12 |
| CCOE with CLEC provided Demarc | DS3 | 1 | 1 |
|  | DS1 | 28 | 28 |
|  | 2W VG | 100 | 200 |
|  | LS** | 100 | 100 |
|  | 4W VG | 50 | 100 |
|  | FIBER* | 12 | 12 |

N/A = Not Available

* 2 fibers = 1 transmit and 1 receive

** 100 LS = Splitters/Customer Served

# Voice Grade service is not offered under tariff, and refer to the appropriate state tariff for voice grade cable terminations.

## See tariff for minimum ordering augment intervals.

*** PENDING APPROVAL = Rhode Island, Traditional Physical Collocation

Note:	When completing Section IV – TYPE OF TERMINATION, REQUEST, AND CABLES TO BE PROVISIONED – please be sure to round up to the nearest ordering increment when indicating the number of terminations to be cabled.  For example, if you are requesting 40 DS1s under a tariff where there is an ordering increment of 28, you must input 56 on the chart in section IV. If you input 40, Verizon will round to the nearest ordering increment, in this case 56, and will cable and bill accordingly.

APPENDIX C

#### Ordering Increments for Cable Terminations

| PRODUCT | TYPE | Delaware DE Collocation Schedule ORDERING INCREMENTS## | DC PSC DC No. 218 ORDERING INCREMENTS ## | Maryland PSC MD No. 218 ORDERING INCREMENTS ## |
| --- | --- | --- | --- | --- |
| Traditional Physical | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |
| Virtual Verizon Installs | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |
| Virtual CLEC Installs (Not Available in MA, ME, NH, RI or VT) | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |
| SCOPE | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |
| CCOE with Verizon provided SPOT Bay | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |
| CCOE with CLEC provided Demarc | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |

N/A = Not Available

* 2 fibers = 1 transmit and 1 receive

** 100 LS = Splitters/Customer Served

# Voice Grade service is not offered under tariff, and refer to the appropriate state tariff for voice grade cable terminations.

## See tariff for minimum ordering augment intervals.

Note:	When completing Section IV – TYPE OF TERMINATION, REQUEST, AND CABLES TO BE PROVISIONED – please be sure to round up to the nearest ordering increment when indicating the number of terminations to be cabled.  For example, if you are requesting 40 DS1s under a tariff where there is an ordering increment of 28, you must input 56 on the chart in section IV. If you input 40, Verizon will round to the nearest ordering increment, in this case 56, and will cable and bill accordingly.

#### APPENDIX C

#### Ordering Increments for Cable Terminations

| PRODUCT | TYPE | New Jersey BPU NJ No.4 ORDERING INCREMENTS ## | Pennsylvania PA PUC No. 218 ORDERING INCREMENTS ## | Virginia SCC VA No.218 ORDERING INCREMENTS ## |
| --- | --- | --- | --- | --- |
| Traditional Physical | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |
| Virtual Verizon Installs | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |
| Virtual CLEC Installs (Not Available in MA, ME, NH, RI or VT) | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |
| SCOPE | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |
| CCOE with Verizon provided SPOT Bay | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |
| CCOE with CLEC provided Demarc | DS3 | 1 | 1 | 1 |
|  | DS1 | 28 | 28 | 28 |
|  | 2W VG | 100 | 100 | 100 |
|  | LS** | 100 | 100 | 100 |
|  | 4W VG | 50 | 50 | 50 |
|  | FIBER* | 12 | 12 | 12 |

N/A = Not Available

* 2 fibers = 1 transmit and 1 receive

** 100 LS = Splitters/Customer Served

# Voice Grade service is not offered under tariff, and refer to the appropriate state tariff for voice grade cable terminations.

## See tariff for minimum ordering augment intervals.

Note:	When completing Section IV – TYPE OF TERMINATION, REQUEST, AND CABLES TO BE PROVISIONED – please be sure to round up to the nearest ordering increment when indicating the number of terminations to be cabled.  For example, if you are requesting 40 DS1s under a tariff where there is an ordering increment of 28, you must input 56 on the chart in section IV. If you input 40, Verizon will round to the nearest ordering increment, in this case 56, and will cable and bill accordingly.

#### APPENDIX C

#### APPENDIX C

Ordering Increments for Cable Terminations

| PRODUCT | TYPE | Pennsylvania PA PUC No.9 ORDERING INCREMENTS |
| --- | --- | --- |
| Traditional Physical (Caged) | DS3 | 1 |
|  | DS1 | 28 |
|  | DSO | 100 |
|  | FIBER* | 1 |
| Virtual Verizon Installs | DS3 | 1 |
|  | DS1 | 28 |
|  | DSO | 100 |
|  | FIBER* | 1 |
| Cageless with Verizon provided SPOT Bay | DS3 | 1 |
|  | DS1 | 28 |
|  | DSO | 100 |
|  | FIBER* | 1 |

N/A = Not Available

* 2 fibers = 1 transmit and 1 receive

** 100 LS = Splitters/Customer Served

# Voice Grade service is not offered under tariff, and refer to the appropriate state tariff for voice grade cable terminations.

## See tariff for minimum ordering augment intervals.

Note:	When completing Section IV – TYPE OF TERMINATION, REQUEST, AND CABLES TO BE PROVISIONED – please be sure to round up to the nearest ordering increment when indicating the number of terminations to be cabled.  For example, if you are requesting 40 DS1s under a tariff where there is an ordering increment of 28, you must input 56 on the chart in section IV. If you input 40, Verizon will round to the nearest ordering increment, in this case 56, and will cable and bill accordingly.

#### APPENDIX C

#### Ordering Increments for Cable Terminations

| PRODUCT | TYPE | Virginia Intrastate Access ORDERING INCREMENTS |
| --- | --- | --- |
| Traditional Physical (Caged) | DS3 | 1 |
|  | DS1 | 28 |
|  | DSO | 100 |
|  | FIBER* | 1 |
| Virtual Verizon Installs | DS3 | 1 |
|  | DS1 | 28 |
|  | DSO | 100 |
|  | FIBER* | 1 |
| Cageless with Verizon provided SPOT Bay | DS3 | 1 |
|  | DS1 | 28 |
|  | DSO | 100 |
|  | FIBER* | 1 |

N/A = Not Available

* 2 fibers = 1 transmit and 1 receive

** 100 LS = Splitters/Customer Served

# Voice Grade service is not offered under tariff, and refer to the appropriate state tariff for voice grade cable terminations.

## See tariff for minimum ordering augment intervals.

Note:	When completing Section IV – TYPE OF TERMINATION, REQUEST, AND CABLES TO BE PROVISIONED – please be sure to round up to the nearest ordering increment when indicating the number of terminations to be cabled.  For example, if you are requesting 40 DS1s under a tariff where there is an ordering increment of 28, you must input 56 on the chart in section IV. If you input 40, Verizon will round to the nearest ordering increment, in this case 56, and will cable and bill accordingly.